## allProbs
| Cause | Mode | Effect | System | FOWT | Farm | Cause | Mode | Effect | System | FOWT | Farm
0: Floating Support Structure Capsize | 0 | 8.9217e-12 | 0 | 0 | 0 | 0 | 3.5718e-28 | 0.0090148 | 0.0049394 | 0.0019494 | 0.00046854 | 0.5
0: Watertight fault | 0 | 0 | 0.00022643 | 0 | 0 | 0 | Operation | 7: Loss of dynamic positioning | 9: Exposure to elements | 7: Mooring lines | 4: FOWT Failure | Farm Failure
Design | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.012075 | 0.0094903 | 0.038658 | 0.14054 | 1
0: Floating Support Structure | 0 | 0 | 0 | 0.00053036 | 0 | 0
0: FOWT Failure | 0 | 0 | 0 | 0 | 0.00016308 | 0
Farm Failure | 0 | 0 | 0 | 0 | 0 | 0.5
0: Floating Support Structure Cracks | 0 | 5.9952e-07 | 0 | 0 | 0 | 0
0: Structural failure | 0 | 0 | 0.0015888 | 0 | 0 | 0
0: Additional Structures Failures | 0 | 6.3514e-11 | 0 | 0 | 0 | 0
0: Potential Failure | 0 | 0 | 0.00066288 | 0 | 0 | 0
Operation | 3.5718e-28 | 0 | 0 | 0 | 0 | 0
0: Potential failure of landing platform | 0 | 0 | 1.1757e-05 | 0 | 0 | 0
0: Floating Support Structure Watertight fault | 0 | 4.0664e-15 | 0 | 0 | 0 | 0
Maintenance | 0 | 0 | 0 | 0 | 0 | 0
0: Floater unit sinkage | 0 | 5.0466e-05 | 0 | 0 | 0 | 0
0: Floating Support Structure SStructural plastic deformation | 0 | 9.6872e-07 | 0 | 0 | 0 | 0
0: Local stress accumulation | 0 | 0 | 3.2014e-07 | 0 | 0 | 0
Operation and Maintenance | 0 | 0 | 0 | 0 | 0 | 0
0: Asset damage | 0 | 0 | 8.73e-05 | 0 | 0 | 0
Environmental condition | 0 | 0 | 0 | 0 | 0 | 0
0: Increased risk of collision, potential damage to the floater | 0 | 0 | 5.939e-05 | 0 | 0 | 0
0: Project cancellation | 0 | 0 | 0.00061746 | 0 | 0 | 0
0: Floating Support Structure Hit by dropped objects | 0 | 6.6251e-05 | 0 | 0 | 0 | 0
0: Floating Support Structure Structural break | 0 | 8.719e-18 | 0 | 0 | 0 | 0
0: Tower collapse | 0 | 0 | 7.7708e-06 | 0 | 0 | 0
0: Reduced stability | 0 | 0 | 5.8108e-05 | 0 | 0 | 0
Manufacturing and Installation | 5.3352e-167 | 0 | 0 | 0 | 0 | 0
Manufacturing | 0 | 0 | 0 | 0 | 0 | 0
0: Structural reassessment | 0 | 0 | 2.2091e-05 | 0 | 0 | 0
Installation | 0 | 0 | 0 | 0 | 0 | 0
0: Anchor failure [1], [17] | 0 | 7.84e-05 | 0 | 0 | 0 | 0
0: Anchor failure | 0 | 0 | 5.6081e-05 | 0 | 0 | 0
0: Mooring lines | 0 | 0 | 0 | 0.0014775 | 0 | 0
0: Failure in buoyancy element | 0 | 6.9747e-06 | 0 | 0 | 0 | 0
0: nan | 0 | 0 | 3.6419e-06 | 0 | 0 | 0
0: Failure in clump weight | 0 | 1.1221e-06 | 0 | 0 | 0 | 0
0: Fairlead failure [1], [17] | 0 | 0.0032367 | 0 | 0 | 0 | 0
0: The anchor cannot be dropped and lift | 0 | 0 | 0.0042995 | 0 | 0 | 0
0: Fairlead failure [1],[17] | 0 | 0.0038552 | 0 | 0 | 0 | 0
0: Monitoring system fails | 0 | 0.0017265 | 0 | 0 | 0 | 0
0: Unable to monitor tension in the mooring lines | 0 | 0 | 0.0011914 | 0 | 0 | 0
0: Mooring line breakage[8] | 0 | 0.0008709 | 0 | 0 | 0 | 0
0: Mooring line strength decrease or broken | 0 | 0 | 0.0017063 | 0 | 0 | 0
0: Mooring Line Corrosion [1] | 0 | 0.002576 | 0 | 0 | 0 | 0
0: Mooring Line Fatigue [1] | 0 | 0.0078851 | 0 | 0 | 0 | 0
0: Mooring line wear [1] | 0 | 0.0010545 | 0 | 0 | 0 | 0
0: Mooring lines broken [1,3] | 0 | 0.0013343 | 0 | 0 | 0 | 0
0: Asset not in correct location or position | 0 | 0 | 0.00022183 | 0 | 0 | 0
0: Mooring winch failure [1] | 0 | 0.00058142 | 0 | 0 | 0 | 0
0: accelerated mechanical fatigue | 0 | 0.0029313 | 0 | 0 | 0 | 0
0: Cable weakening | 0 | 0 | 0.0012475 | 0 | 0 | 0
0: Dynamic cable | 0 | 0 | 0 | 0.0014339 | 0 | 0
0: anchoring damages | 0 | 0.00017549 | 0 | 0 | 0 | 0
0: Cables stress | 0 | 0 | 0.0029503 | 0 | 0 | 0
0: Cable Damage | 0 | 0.0025505 | 0 | 0 | 0 | 0
0: Operational disruption | 0 | 0 | 0.0023127 | 0 | 0 | 0
0: Corrosion of J-tube [6] | 0 | 0.0031813 | 0 | 0 | 0 | 0
0: J-tube degradation affecting cable integrity | 0 | 0 | 0.0021589 | 0 | 0 | 0
0: Crushing or deformation | 0 | 0.00065853 | 0 | 0 | 0 | 0
0: damage and corrosion of mechanical parts | 0 | 0.00030169 | 0 | 0 | 0 | 0
0: Total loss of the line | 0 | 0 | 0.00054802 | 0 | 0 | 0
0: Debris disturbance | 0 | 0.0014514 | 0 | 0 | 0 | 0
0: Power disruption | 0 | 0 | 0.0016619 | 0 | 0 | 0
0: Detachment | 0 | 0.0036696 | 0 | 0 | 0 | 0
0: Water penetration | 0 | 0 | 0.0033556 | 0 | 0 | 0
0: Failure of end termination [6] | 0 | 0.0034914 | 0 | 0 | 0 | 0
0: breakdown of insulation | 0 | 0 | 0.0034796 | 0 | 0 | 0
0: Failure of fixing clamps | 0 | 0.0039246 | 0 | 0 | 0 | 0
0: Exposure to elements | 0 | 0 | 0.004926 | 0 | 0 | 0
0: Failure of insulations | 0 | 0.0015986 | 0 | 0 | 0 | 0
0: Failure of sheath | 0 | 0.00418 | 0 | 0 | 0 | 0
0: Failure of watertightness | 0 | 0.001239 | 0 | 0 | 0 | 0
0: failures of conductors | 0 | 0.0034975 | 0 | 0 | 0 | 0
0: Loss of production | 0 | 0 | 0.0035256 | 0 | 0 | 0
0: Fatigue Cracks | 0 | 0.0013362 | 0 | 0 | 0 | 0
0: Geo-Hazards | 0 | 6.7599e-05 | 0 | 0 | 0 | 0
0: Loss of dynamic positioning | 0 | 0.0054786 | 0 | 0 | 0 | 0
0: Loss of float bility (water adsorption) | 0 | 2.6422e-06 | 0 | 0 | 0 | 0
<None> | 4.5236e-126 | 0 | 0 | 0 | 0 | 0
0: material degradation | 0 | 0.0011848 | 0 | 0 | 0 | 0
0: Mechanical degradation [20] | 0 | 3.0422e-07 | 0 | 0 | 0 | 0
0: Movement of CPS due to scour/seabed mobility [6] | 0 | 0.00015267 | 0 | 0 | 0 | 0
0: Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0.00085096 | 0 | 0 | 0
0: Premature damage of outer protection layer | 0 | 0.0013714 | 0 | 0 | 0 | 0
0: Reduced sediment cover lower than designed value for protection [6] | 0 | 0.00080789 | 0 | 0 | 0 | 0
0: Replacement of cable | 0 | 0 | 0.00073499 | 0 | 0 | 0
0: Small bending radius | 0 | 0.0036706 | 0 | 0 | 0 | 0
0: Insulation degradation | 0 | 0 | 0.0031808 | 0 | 0 | 0
0: Abnormal vibration | 0 | 3.0217e-06 | 0 | 0 | 0 | 0
0: Excessive Fatigue Life Consumption | 0 | 0 | 0.0025571 | 0 | 0 | 0
0: Tower | 0 | 0 | 0 | 0.00066731 | 0 | 0
0: Potential collapse | 0 | 0 | 6.2513e-05 | 0 | 0 | 0
0: Tower Cracks | 0 | 5.5438e-13 | 0 | 0 | 0 | 0
0: Failure of whole facility and vast economic loses | 0 | 0 | 5.4901e-05 | 0 | 0 | 0
Fabrication | 7.9587e-244 | 0 | 0 | 0 | 0 | 0
0: Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0.0040772 | 0 | 0 | 0
0: Plastic deformation | 0 | 0.00074415 | 0 | 0 | 0 | 0
0: Transition piece break | 0 | 2.7205e-09 | 0 | 0 | 0 | 0
0: Tower Unit collapse, Floater Unit damage | 0 | 0 | 6.3697e-06 | 0 | 0 | 0
0: Transition piece | 0 | 0 | 0 | 0.00084946 | 0 | 0
0: tension failure (rupture), buckling of the transition piece/ Tower unit damage | 0 | 0 | 0.0015119 | 0 | 0 | 0
0: Structural plastic deformation | 0 | 4.3945e-07 | 0 | 0 | 0 | 0
0: Transition Piece Cracks | 0 | 3.1002e-07 | 0 | 0 | 0 | 0
0: Tower transition piece connections failure / resonance | 0 | 0 | 0.0007356 | 0 | 0 | 0
0: Transition piece vibration | 0 | 0.00050321 | 0 | 0 | 0 | 0
0: potential tower connections failure | 0 | 0 | 0.00081612 | 0 | 0 | 0
1: Floating Support Structure Capsize | 0 | 8.6562e-10 | 0 | 0 | 0 | 0
1: Watertight fault | 0 | 0 | 0.00055442 | 0 | 0 | 0
1: Floating Support Structure | 0 | 0 | 0 | 0.0006697 | 0 | 0
1: FOWT Failure | 0 | 0 | 0 | 0 | 0.00041919 | 0
1: Floating Support Structure Cracks | 0 | 8.039e-07 | 0 | 0 | 0 | 0
1: Structural failure | 0 | 0 | 0.0010691 | 0 | 0 | 0
1: Additional Structures Failures | 0 | 8.4624e-10 | 0 | 0 | 0 | 0
1: Potential Failure | 0 | 0 | 0.00014461 | 0 | 0 | 0
1: Potential failure of landing platform | 0 | 0 | 1.4736e-06 | 0 | 0 | 0
1: Floating Support Structure Watertight fault | 0 | 1.9748e-13 | 0 | 0 | 0 | 0
1: Floater unit sinkage | 0 | 9.139e-05 | 0 | 0 | 0 | 0
1: Floating Support Structure SStructural plastic deformation | 0 | 1.2734e-07 | 0 | 0 | 0 | 0
1: Local stress accumulation | 0 | 0 | 6.8954e-07 | 0 | 0 | 0
1: Asset damage | 0 | 0 | 6.7079e-05 | 0 | 0 | 0
1: Increased risk of collision, potential damage to the floater | 0 | 0 | 5.1276e-05 | 0 | 0 | 0
1: Project cancellation | 0 | 0 | 0.00063955 | 0 | 0 | 0
1: Floating Support Structure Hit by dropped objects | 0 | 7.6381e-05 | 0 | 0 | 0 | 0
1: Floating Support Structure Structural break | 0 | 3.5104e-17 | 0 | 0 | 0 | 0
1: Tower collapse | 0 | 0 | 1.3479e-05 | 0 | 0 | 0
1: Reduced stability | 0 | 0 | 9.5551e-05 | 0 | 0 | 0
1: Structural reassessment | 0 | 0 | 3.4859e-05 | 0 | 0 | 0
1: Anchor failure [1], [17] | 0 | 8.3443e-05 | 0 | 0 | 0 | 0
1: Anchor failure | 0 | 0 | 6.3435e-05 | 0 | 0 | 0
1: Mooring lines | 0 | 0 | 0 | 0.0017697 | 0 | 0
1: Failure in buoyancy element | 0 | 2.0849e-05 | 0 | 0 | 0 | 0
1: nan | 0 | 0 | 2.684e-06 | 0 | 0 | 0
1: Failure in clump weight | 0 | 2.9017e-06 | 0 | 0 | 0 | 0
1: Fairlead failure [1], [17] | 0 | 0.0041223 | 0 | 0 | 0 | 0
1: The anchor cannot be dropped and lift | 0 | 0 | 0.0045085 | 0 | 0 | 0
1: Fairlead failure [1],[17] | 0 | 0.0045304 | 0 | 0 | 0 | 0
1: Monitoring system fails | 0 | 0.0012204 | 0 | 0 | 0 | 0
1: Unable to monitor tension in the mooring lines | 0 | 0 | 0.0014703 | 0 | 0 | 0
1: Mooring line breakage[8] | 0 | 0.00011671 | 0 | 0 | 0 | 0
1: Mooring line strength decrease or broken | 0 | 0 | 0.001057 | 0 | 0 | 0
1: Mooring Line Corrosion [1] | 0 | 0.0043281 | 0 | 0 | 0 | 0
1: Mooring Line Fatigue [1] | 0 | 0.00686 | 0 | 0 | 0 | 0
1: Mooring line wear [1] | 0 | 0.0015953 | 0 | 0 | 0 | 0
1: Mooring lines broken [1,3] | 0 | 0.0011912 | 0 | 0 | 0 | 0
1: Asset not in correct location or position | 0 | 0 | 0.00043169 | 0 | 0 | 0
1: Mooring winch failure [1] | 0 | 0.00067823 | 0 | 0 | 0 | 0
1: accelerated mechanical fatigue | 0 | 0.003447 | 0 | 0 | 0 | 0
1: Cable weakening | 0 | 0 | 0.0015768 | 0 | 0 | 0
1: Dynamic cable | 0 | 0 | 0 | 0.0016739 | 0 | 0
1: anchoring damages | 0 | 0.00071798 | 0 | 0 | 0 | 0
1: Cables stress | 0 | 0 | 0.0046238 | 0 | 0 | 0
1: Cable Damage | 0 | 0.0043581 | 0 | 0 | 0 | 0
1: Operational disruption | 0 | 0 | 0.0026363 | 0 | 0 | 0
1: Corrosion of J-tube [6] | 0 | 0.002516 | 0 | 0 | 0 | 0
1: J-tube degradation affecting cable integrity | 0 | 0 | 0.0039728 | 0 | 0 | 0
1: Crushing or deformation | 0 | 0.00060877 | 0 | 0 | 0 | 0
1: damage and corrosion of mechanical parts | 0 | 0.00044743 | 0 | 0 | 0 | 0
1: Total loss of the line | 0 | 0 | 0.00092602 | 0 | 0 | 0
1: Debris disturbance | 0 | 0.0019493 | 0 | 0 | 0 | 0
1: Power disruption | 0 | 0 | 0.0016455 | 0 | 0 | 0
1: Detachment | 0 | 0.0036264 | 0 | 0 | 0 | 0
1: Water penetration | 0 | 0 | 0.0030517 | 0 | 0 | 0
1: Failure of end termination [6] | 0 | 0.0031552 | 0 | 0 | 0 | 0
1: breakdown of insulation | 0 | 0 | 0.002007 | 0 | 0 | 0
1: Failure of fixing clamps | 0 | 0.0022618 | 0 | 0 | 0 | 0
1: Exposure to elements | 0 | 0 | 0.002381 | 0 | 0 | 0
1: Failure of insulations | 0 | 0.0014992 | 0 | 0 | 0 | 0
1: Failure of sheath | 0 | 0.0031527 | 0 | 0 | 0 | 0
1: Failure of watertightness | 0 | 0.0011913 | 0 | 0 | 0 | 0
1: failures of conductors | 0 | 0.0029102 | 0 | 0 | 0 | 0
1: Loss of production | 0 | 0 | 0.0029065 | 0 | 0 | 0
1: Fatigue Cracks | 0 | 0.0015795 | 0 | 0 | 0 | 0
1: Geo-Hazards | 0 | 9.1233e-05 | 0 | 0 | 0 | 0
1: Loss of dynamic positioning | 0 | 0.0065615 | 0 | 0 | 0 | 0
1: Loss of float bility (water adsorption) | 0 | 3.8002e-06 | 0 | 0 | 0 | 0
1: material degradation | 0 | 0.0011918 | 0 | 0 | 0 | 0
1: Mechanical degradation [20] | 0 | 9.3162e-08 | 0 | 0 | 0 | 0
1: Movement of CPS due to scour/seabed mobility [6] | 0 | 0.00098613 | 0 | 0 | 0 | 0
1: Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0.00016267 | 0 | 0 | 0
1: Premature damage of outer protection layer | 0 | 0.0013845 | 0 | 0 | 0 | 0
1: Reduced sediment cover lower than designed value for protection [6] | 0 | 0.00033355 | 0 | 0 | 0 | 0
1: Replacement of cable | 0 | 0 | 0.00053656 | 0 | 0 | 0
1: Small bending radius | 0 | 0.0038117 | 0 | 0 | 0 | 0
1: Insulation degradation | 0 | 0 | 0.0034774 | 0 | 0 | 0
1: Abnormal vibration | 0 | 3.8944e-06 | 0 | 0 | 0 | 0
1: Excessive Fatigue Life Consumption | 0 | 0 | 0.0034475 | 0 | 0 | 0
1: Tower | 0 | 0 | 0 | 0.00011694 | 0 | 0
1: Potential collapse | 0 | 0 | 7.9592e-05 | 0 | 0 | 0
1: Tower Cracks | 0 | 1.3005e-13 | 0 | 0 | 0 | 0
1: Failure of whole facility and vast economic loses | 0 | 0 | 8.4714e-05 | 0 | 0 | 0
1: Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0.0034815 | 0 | 0 | 0
1: Plastic deformation | 0 | 0.00026473 | 0 | 0 | 0 | 0
1: Transition piece break | 0 | 8.0161e-09 | 0 | 0 | 0 | 0
1: Tower Unit collapse, Floater Unit damage | 0 | 0 | 2.5383e-05 | 0 | 0 | 0
1: Transition piece | 0 | 0 | 0 | 0.00056932 | 0 | 0
1: tension failure (rupture), buckling of the transition piece/ Tower unit damage | 0 | 0 | 0.0011276 | 0 | 0 | 0
1: Structural plastic deformation | 0 | 1.6347e-08 | 0 | 0 | 0 | 0
1: Transition Piece Cracks | 0 | 6.2706e-07 | 0 | 0 | 0 | 0
1: Tower transition piece connections failure / resonance | 0 | 0 | 0.00076501 | 0 | 0 | 0
1: Transition piece vibration | 0 | 0.00092651 | 0 | 0 | 0 | 0
1: potential tower connections failure | 0 | 0 | 0.00042317 | 0 | 0 | 0
2: Floating Support Structure Capsize | 0 | 2.8795e-12 | 0 | 0 | 0 | 0
2: Watertight fault | 0 | 0 | 0.00072684 | 0 | 0 | 0
2: Floating Support Structure | 0 | 0 | 0 | 0.00094209 | 0 | 0
2: FOWT Failure | 0 | 0 | 0 | 0 | 0.0004644 | 0
2: Floating Support Structure Cracks | 0 | 6.5123e-07 | 0 | 0 | 0 | 0
2: Structural failure | 0 | 0 | 0.0011905 | 0 | 0 | 0
2: Additional Structures Failures | 0 | 1.0721e-10 | 0 | 0 | 0 | 0
2: Potential Failure | 0 | 0 | 0.00032318 | 0 | 0 | 0
2: Potential failure of landing platform | 0 | 0 | 3.593e-05 | 0 | 0 | 0
2: Floating Support Structure Watertight fault | 0 | 6.8027e-13 | 0 | 0 | 0 | 0
2: Floater unit sinkage | 0 | 9.452e-05 | 0 | 0 | 0 | 0
2: Floating Support Structure SStructural plastic deformation | 0 | 6.6958e-08 | 0 | 0 | 0 | 0
2: Local stress accumulation | 0 | 0 | 1.8841e-08 | 0 | 0 | 0
2: Asset damage | 0 | 0 | 6.2902e-05 | 0 | 0 | 0
2: Increased risk of collision, potential damage to the floater | 0 | 0 | 9.9243e-05 | 0 | 0 | 0
2: Project cancellation | 0 | 0 | 0.00057171 | 0 | 0 | 0
2: Floating Support Structure Hit by dropped objects | 0 | 7.5972e-05 | 0 | 0 | 0 | 0
2: Floating Support Structure Structural break | 0 | 7.7695e-17 | 0 | 0 | 0 | 0
2: Tower collapse | 0 | 0 | 2.2299e-05 | 0 | 0 | 0
2: Reduced stability | 0 | 0 | 9.9672e-05 | 0 | 0 | 0
2: Structural reassessment | 0 | 0 | 4.2135e-05 | 0 | 0 | 0
2: Anchor failure [1], [17] | 0 | 9.5593e-05 | 0 | 0 | 0 | 0
2: Anchor failure | 0 | 0 | 9.914e-05 | 0 | 0 | 0
2: Mooring lines | 0 | 0 | 0 | 0.0012439 | 0 | 0
2: Failure in buoyancy element | 0 | 9.7368e-06 | 0 | 0 | 0 | 0
2: nan | 0 | 0 | 3.5905e-06 | 0 | 0 | 0
2: Failure in clump weight | 0 | 3.0326e-06 | 0 | 0 | 0 | 0
2: Fairlead failure [1], [17] | 0 | 0.0045062 | 0 | 0 | 0 | 0
2: The anchor cannot be dropped and lift | 0 | 0 | 0.0026838 | 0 | 0 | 0
2: Fairlead failure [1],[17] | 0 | 0.0021084 | 0 | 0 | 0 | 0
2: Monitoring system fails | 0 | 0.0017981 | 0 | 0 | 0 | 0
2: Unable to monitor tension in the mooring lines | 0 | 0 | 0.0019213 | 0 | 0 | 0
2: Mooring line breakage[8] | 0 | 0.00069331 | 0 | 0 | 0 | 0
2: Mooring line strength decrease or broken | 0 | 0 | 0.0014639 | 0 | 0 | 0
2: Mooring Line Corrosion [1] | 0 | 0.0040443 | 0 | 0 | 0 | 0
2: Mooring Line Fatigue [1] | 0 | 0.0083838 | 0 | 0 | 0 | 0
2: Mooring line wear [1] | 0 | 0.0015692 | 0 | 0 | 0 | 0
2: Mooring lines broken [1,3] | 0 | 0.0015281 | 0 | 0 | 0 | 0
2: Asset not in correct location or position | 0 | 0 | 0.00029289 | 0 | 0 | 0
2: Mooring winch failure [1] | 0 | 0.00035846 | 0 | 0 | 0 | 0
2: accelerated mechanical fatigue | 0 | 0.0027125 | 0 | 0 | 0 | 0
2: Cable weakening | 0 | 0 | 0.0014933 | 0 | 0 | 0
2: Dynamic cable | 0 | 0 | 0 | 0.0019466 | 0 | 0
2: anchoring damages | 0 | 0.00030915 | 0 | 0 | 0 | 0
2: Cables stress | 0 | 0 | 0.0035839 | 0 | 0 | 0
2: Cable Damage | 0 | 0.0041167 | 0 | 0 | 0 | 0
2: Operational disruption | 0 | 0 | 0.0022743 | 0 | 0 | 0
2: Corrosion of J-tube [6] | 0 | 0.004521 | 0 | 0 | 0 | 0
2: J-tube degradation affecting cable integrity | 0 | 0 | 0.0038331 | 0 | 0 | 0
2: Crushing or deformation | 0 | 0.00076921 | 0 | 0 | 0 | 0
2: damage and corrosion of mechanical parts | 0 | 0.00060282 | 0 | 0 | 0 | 0
2: Total loss of the line | 0 | 0 | 0.00027732 | 0 | 0 | 0
2: Debris disturbance | 0 | 0.0012086 | 0 | 0 | 0 | 0
2: Power disruption | 0 | 0 | 0.0011727 | 0 | 0 | 0
2: Detachment | 0 | 0.0038493 | 0 | 0 | 0 | 0
2: Water penetration | 0 | 0 | 0.0023735 | 0 | 0 | 0
2: Failure of end termination [6] | 0 | 0.0037362 | 0 | 0 | 0 | 0
2: breakdown of insulation | 0 | 0 | 0.0022675 | 0 | 0 | 0
2: Failure of fixing clamps | 0 | 0.0027692 | 0 | 0 | 0 | 0
2: Exposure to elements | 0 | 0 | 0.0043526 | 0 | 0 | 0
2: Failure of insulations | 0 | 0.0013073 | 0 | 0 | 0 | 0
2: Failure of sheath | 0 | 0.0024569 | 0 | 0 | 0 | 0
2: Failure of watertightness | 0 | 0.001431 | 0 | 0 | 0 | 0
2: failures of conductors | 0 | 0.0036202 | 0 | 0 | 0 | 0
2: Loss of production | 0 | 0 | 0.0032738 | 0 | 0 | 0
2: Fatigue Cracks | 0 | 0.001752 | 0 | 0 | 0 | 0
2: Geo-Hazards | 0 | 9.2517e-05 | 0 | 0 | 0 | 0
2: Loss of dynamic positioning | 0 | 0.0056116 | 0 | 0 | 0 | 0
2: Loss of float bility (water adsorption) | 0 | 3.5558e-06 | 0 | 0 | 0 | 0
2: material degradation | 0 | 0.001917 | 0 | 0 | 0 | 0
2: Mechanical degradation [20] | 0 | 2.5015e-07 | 0 | 0 | 0 | 0
2: Movement of CPS due to scour/seabed mobility [6] | 0 | 0.00075395 | 0 | 0 | 0 | 0
2: Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0.00028646 | 0 | 0 | 0
2: Premature damage of outer protection layer | 0 | 0.0017013 | 0 | 0 | 0 | 0
2: Reduced sediment cover lower than designed value for protection [6] | 0 | 0.00075309 | 0 | 0 | 0 | 0
2: Replacement of cable | 0 | 0 | 0.00015906 | 0 | 0 | 0
2: Small bending radius | 0 | 0.0033974 | 0 | 0 | 0 | 0
2: Insulation degradation | 0 | 0 | 0.0020158 | 0 | 0 | 0
2: Abnormal vibration | 0 | 3.9152e-06 | 0 | 0 | 0 | 0
2: Excessive Fatigue Life Consumption | 0 | 0 | 0.0028546 | 0 | 0 | 0
2: Tower | 0 | 0 | 0 | 0.00055825 | 0 | 0
2: Potential collapse | 0 | 0 | 9.1692e-05 | 0 | 0 | 0
2: Tower Cracks | 0 | 2.875e-13 | 0 | 0 | 0 | 0
2: Failure of whole facility and vast economic loses | 0 | 0 | 9.5332e-05 | 0 | 0 | 0
2: Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0.0024495 | 0 | 0 | 0
2: Plastic deformation | 0 | 0.0008011 | 0 | 0 | 0 | 0
2: Transition piece break | 0 | 2.7733e-09 | 0 | 0 | 0 | 0
2: Tower Unit collapse, Floater Unit damage | 0 | 0 | 1.7513e-05 | 0 | 0 | 0
2: Transition piece | 0 | 0 | 0 | 0.00078499 | 0 | 0
2: tension failure (rupture), buckling of the transition piece/ Tower unit damage | 0 | 0 | 0.0015422 | 0 | 0 | 0
2: Structural plastic deformation | 0 | 1.262e-08 | 0 | 0 | 0 | 0
2: Transition Piece Cracks | 0 | 1.9076e-08 | 0 | 0 | 0 | 0
2: Tower transition piece connections failure / resonance | 0 | 0 | 0.00046318 | 0 | 0 | 0
2: Transition piece vibration | 0 | 0.00059615 | 0 | 0 | 0 | 0
2: potential tower connections failure | 0 | 0 | 0.00022763 | 0 | 0 | 0
3: Floating Support Structure Capsize | 0 | 8.5657e-11 | 0 | 0 | 0 | 0
3: Watertight fault | 0 | 0 | 0.00058495 | 0 | 0 | 0
3: Floating Support Structure | 0 | 0 | 0 | 0.00071239 | 0 | 0
3: FOWT Failure | 0 | 0 | 0 | 0 | 0.00033017 | 0
3: Floating Support Structure Cracks | 0 | 7.2303e-07 | 0 | 0 | 0 | 0
3: Structural failure | 0 | 0 | 0.0013442 | 0 | 0 | 0
3: Additional Structures Failures | 0 | 1.8935e-11 | 0 | 0 | 0 | 0
3: Potential Failure | 0 | 0 | 0.00022493 | 0 | 0 | 0
3: Potential failure of landing platform | 0 | 0 | 4.4428e-05 | 0 | 0 | 0
3: Floating Support Structure Watertight fault | 0 | 7.0248e-14 | 0 | 0 | 0 | 0
3: Floater unit sinkage | 0 | 5.1338e-05 | 0 | 0 | 0 | 0
3: Floating Support Structure SStructural plastic deformation | 0 | 2.8178e-08 | 0 | 0 | 0 | 0
3: Local stress accumulation | 0 | 0 | 1.5289e-07 | 0 | 0 | 0
3: Asset damage | 0 | 0 | 8.4623e-05 | 0 | 0 | 0
3: Increased risk of collision, potential damage to the floater | 0 | 0 | 7.4886e-05 | 0 | 0 | 0
3: Project cancellation | 0 | 0 | 0.00097343 | 0 | 0 | 0
3: Floating Support Structure Hit by dropped objects | 0 | 7.9447e-05 | 0 | 0 | 0 | 0
3: Floating Support Structure Structural break | 0 | 5.3387e-17 | 0 | 0 | 0 | 0
3: Tower collapse | 0 | 0 | 1.1765e-06 | 0 | 0 | 0
3: Reduced stability | 0 | 0 | 5.4825e-05 | 0 | 0 | 0
3: Structural reassessment | 0 | 0 | 3.5723e-06 | 0 | 0 | 0
3: Anchor failure [1], [17] | 0 | 9.2242e-05 | 0 | 0 | 0 | 0
3: Anchor failure | 0 | 0 | 9.9266e-05 | 0 | 0 | 0
3: Mooring lines | 0 | 0 | 0 | 0.0015644 | 0 | 0
3: Failure in buoyancy element | 0 | 1.9205e-05 | 0 | 0 | 0 | 0
3: nan | 0 | 0 | 3.7729e-06 | 0 | 0 | 0
3: Failure in clump weight | 0 | 3.3323e-06 | 0 | 0 | 0 | 0
3: Fairlead failure [1], [17] | 0 | 0.003705 | 0 | 0 | 0 | 0
3: The anchor cannot be dropped and lift | 0 | 0 | 0.0044871 | 0 | 0 | 0
3: Fairlead failure [1],[17] | 0 | 0.002654 | 0 | 0 | 0 | 0
3: Monitoring system fails | 0 | 0.0010202 | 0 | 0 | 0 | 0
3: Unable to monitor tension in the mooring lines | 0 | 0 | 0.0017854 | 0 | 0 | 0
3: Mooring line breakage[8] | 0 | 0.00049835 | 0 | 0 | 0 | 0
3: Mooring line strength decrease or broken | 0 | 0 | 0.0017414 | 0 | 0 | 0
3: Mooring Line Corrosion [1] | 0 | 0.0022447 | 0 | 0 | 0 | 0
3: Mooring Line Fatigue [1] | 0 | 0.0060755 | 0 | 0 | 0 | 0
3: Mooring line wear [1] | 0 | 0.0019535 | 0 | 0 | 0 | 0
3: Mooring lines broken [1,3] | 0 | 0.0013962 | 0 | 0 | 0 | 0
3: Asset not in correct location or position | 0 | 0 | 0.0001325 | 0 | 0 | 0
3: Mooring winch failure [1] | 0 | 0.00089808 | 0 | 0 | 0 | 0
3: accelerated mechanical fatigue | 0 | 0.0023964 | 0 | 0 | 0 | 0
3: Cable weakening | 0 | 0 | 0.0019768 | 0 | 0 | 0
3: Dynamic cable | 0 | 0 | 0 | 0.001837 | 0 | 0
3: anchoring damages | 0 | 0.00044117 | 0 | 0 | 0 | 0
3: Cables stress | 0 | 0 | 0.0039892 | 0 | 0 | 0
3: Cable Damage | 0 | 0.0036534 | 0 | 0 | 0 | 0
3: Operational disruption | 0 | 0 | 0.0036091 | 0 | 0 | 0
3: Corrosion of J-tube [6] | 0 | 0.0033978 | 0 | 0 | 0 | 0
3: J-tube degradation affecting cable integrity | 0 | 0 | 0.0030319 | 0 | 0 | 0
3: Crushing or deformation | 0 | 0.00042401 | 0 | 0 | 0 | 0
3: damage and corrosion of mechanical parts | 0 | 0.00015002 | 0 | 0 | 0 | 0
3: Total loss of the line | 0 | 0 | 0.00015883 | 0 | 0 | 0
3: Debris disturbance | 0 | 0.0018275 | 0 | 0 | 0 | 0
3: Power disruption | 0 | 0 | 0.0018493 | 0 | 0 | 0
3: Detachment | 0 | 0.0030888 | 0 | 0 | 0 | 0
3: Water penetration | 0 | 0 | 0.0021834 | 0 | 0 | 0
3: Failure of end termination [6] | 0 | 0.0049121 | 0 | 0 | 0 | 0
3: breakdown of insulation | 0 | 0 | 0.0022765 | 0 | 0 | 0
3: Failure of fixing clamps | 0 | 0.0034802 | 0 | 0 | 0 | 0
3: Exposure to elements | 0 | 0 | 0.0021179 | 0 | 0 | 0
3: Failure of insulations | 0 | 0.0011468 | 0 | 0 | 0 | 0
3: Failure of sheath | 0 | 0.0045101 | 0 | 0 | 0 | 0
3: Failure of watertightness | 0 | 0.0019018 | 0 | 0 | 0 | 0
3: failures of conductors | 0 | 0.002446 | 0 | 0 | 0 | 0
3: Loss of production | 0 | 0 | 0.0048099 | 0 | 0 | 0
3: Fatigue Cracks | 0 | 0.0010148 | 0 | 0 | 0 | 0
3: Geo-Hazards | 0 | 6.9864e-05 | 0 | 0 | 0 | 0
3: Loss of dynamic positioning | 0 | 0.0070235 | 0 | 0 | 0 | 0
3: Loss of float bility (water adsorption) | 0 | 2.3874e-06 | 0 | 0 | 0 | 0
3: material degradation | 0 | 0.0018973 | 0 | 0 | 0 | 0
3: Mechanical degradation [20] | 0 | 1.6592e-07 | 0 | 0 | 0 | 0
3: Movement of CPS due to scour/seabed mobility [6] | 0 | 0.00032668 | 0 | 0 | 0 | 0
3: Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0.00010284 | 0 | 0 | 0
3: Premature damage of outer protection layer | 0 | 0.0013295 | 0 | 0 | 0 | 0
3: Reduced sediment cover lower than designed value for protection [6] | 0 | 0.00072126 | 0 | 0 | 0 | 0
3: Replacement of cable | 0 | 0 | 0.00085006 | 0 | 0 | 0
3: Small bending radius | 0 | 0.0040798 | 0 | 0 | 0 | 0
3: Insulation degradation | 0 | 0 | 0.0029375 | 0 | 0 | 0
3: Abnormal vibration | 0 | 2.2583e-06 | 0 | 0 | 0 | 0
3: Excessive Fatigue Life Consumption | 0 | 0 | 0.0032346 | 0 | 0 | 0
3: Tower | 0 | 0 | 0 | 0.00053471 | 0 | 0
3: Potential collapse | 0 | 0 | 8.9024e-05 | 0 | 0 | 0
3: Tower Cracks | 0 | 3.0029e-13 | 0 | 0 | 0 | 0
3: Failure of whole facility and vast economic loses | 0 | 0 | 8.7017e-05 | 0 | 0 | 0
3: Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0.0035256 | 0 | 0 | 0
3: Plastic deformation | 0 | 0.0007127 | 0 | 0 | 0 | 0
3: Transition piece break | 0 | 9.7674e-09 | 0 | 0 | 0 | 0
3: Tower Unit collapse, Floater Unit damage | 0 | 0 | 1.8803e-05 | 0 | 0 | 0
3: Transition piece | 0 | 0 | 0 | 0.00041268 | 0 | 0
3: tension failure (rupture), buckling of the transition piece/ Tower unit damage | 0 | 0 | 0.0017088 | 0 | 0 | 0
3: Structural plastic deformation | 0 | 8.3046e-08 | 0 | 0 | 0 | 0
3: Transition Piece Cracks | 0 | 1.1903e-07 | 0 | 0 | 0 | 0
3: Tower transition piece connections failure / resonance | 0 | 0 | 0.00032534 | 0 | 0 | 0
3: Transition piece vibration | 0 | 0.00086636 | 0 | 0 | 0 | 0
3: potential tower connections failure | 0 | 0 | 0.00070965 | 0 | 0 | 0
4: Floating Support Structure Capsize | 0 | 3.952e-11 | 0 | 0 | 0 | 0
4: Watertight fault | 0 | 0 | 0.00010293 | 0 | 0 | 0
4: Floating Support Structure | 0 | 0 | 0 | 0.0008822 | 0 | 0
4: FOWT Failure | 0 | 0 | 0 | 0 | 0.00046854 | 0
4: Floating Support Structure Cracks | 0 | 2.022e-07 | 0 | 0 | 0 | 0
4: Structural failure | 0 | 0 | 0.0011639 | 0 | 0 | 0
4: Additional Structures Failures | 0 | 1.5727e-11 | 0 | 0 | 0 | 0
4: Potential Failure | 0 | 0 | 0.00020695 | 0 | 0 | 0
4: Potential failure of landing platform | 0 | 0 | 1.5985e-05 | 0 | 0 | 0
4: Floating Support Structure Watertight fault | 0 | 4.1948e-16 | 0 | 0 | 0 | 0
4: Floater unit sinkage | 0 | 9.4486e-05 | 0 | 0 | 0 | 0
4: Floating Support Structure SStructural plastic deformation | 0 | 1.0031e-07 | 0 | 0 | 0 | 0
4: Local stress accumulation | 0 | 0 | 3.2174e-08 | 0 | 0 | 0
4: Asset damage | 0 | 0 | 9.7624e-05 | 0 | 0 | 0
4: Increased risk of collision, potential damage to the floater | 0 | 0 | 7.7933e-05 | 0 | 0 | 0
4: Project cancellation | 0 | 0 | 0.00033499 | 0 | 0 | 0
4: Floating Support Structure Hit by dropped objects | 0 | 9.0484e-05 | 0 | 0 | 0 | 0
4: Floating Support Structure Structural break | 0 | 5.361e-17 | 0 | 0 | 0 | 0
4: Tower collapse | 0 | 0 | 3.7211e-05 | 0 | 0 | 0
4: Reduced stability | 0 | 0 | 9.6834e-05 | 0 | 0 | 0
4: Structural reassessment | 0 | 0 | 5.2881e-06 | 0 | 0 | 0
4: Anchor failure [1], [17] | 0 | 7.1513e-05 | 0 | 0 | 0 | 0
4: Anchor failure | 0 | 0 | 8.4985e-05 | 0 | 0 | 0
4: Mooring lines | 0 | 0 | 0 | 0.0018128 | 0 | 0
4: Failure in buoyancy element | 0 | 1.505e-05 | 0 | 0 | 0 | 0
4: nan | 0 | 0 | 3.6816e-06 | 0 | 0 | 0
4: Failure in clump weight | 0 | 1.8988e-06 | 0 | 0 | 0 | 0
4: Fairlead failure [1], [17] | 0 | 0.0044918 | 0 | 0 | 0 | 0
4: The anchor cannot be dropped and lift | 0 | 0 | 0.0039722 | 0 | 0 | 0
4: Fairlead failure [1],[17] | 0 | 0.0042948 | 0 | 0 | 0 | 0
4: Monitoring system fails | 0 | 0.0010166 | 0 | 0 | 0 | 0
4: Unable to monitor tension in the mooring lines | 0 | 0 | 0.0016962 | 0 | 0 | 0
4: Mooring line breakage[8] | 0 | 0.00040503 | 0 | 0 | 0 | 0
4: Mooring line strength decrease or broken | 0 | 0 | 0.0015621 | 0 | 0 | 0
4: Mooring Line Corrosion [1] | 0 | 0.0043068 | 0 | 0 | 0 | 0
4: Mooring Line Fatigue [1] | 0 | 0.0076391 | 0 | 0 | 0 | 0
4: Mooring line wear [1] | 0 | 0.0015297 | 0 | 0 | 0 | 0
4: Mooring lines broken [1,3] | 0 | 0.0010507 | 0 | 0 | 0 | 0
4: Asset not in correct location or position | 0 | 0 | 0.00051171 | 0 | 0 | 0
4: Mooring winch failure [1] | 0 | 0.00034443 | 0 | 0 | 0 | 0
4: accelerated mechanical fatigue | 0 | 0.0027321 | 0 | 0 | 0 | 0
4: Cable weakening | 0 | 0 | 0.0014137 | 0 | 0 | 0
4: Dynamic cable | 0 | 0 | 0 | 0.0014696 | 0 | 0
4: anchoring damages | 0 | 0.00053217 | 0 | 0 | 0 | 0
4: Cables stress | 0 | 0 | 0.0043107 | 0 | 0 | 0
4: Cable Damage | 0 | 0.0038948 | 0 | 0 | 0 | 0
4: Operational disruption | 0 | 0 | 0.0026544 | 0 | 0 | 0
4: Corrosion of J-tube [6] | 0 | 0.0032153 | 0 | 0 | 0 | 0
4: J-tube degradation affecting cable integrity | 0 | 0 | 0.0028312 | 0 | 0 | 0
4: Crushing or deformation | 0 | 0.00074425 | 0 | 0 | 0 | 0
4: damage and corrosion of mechanical parts | 0 | 0.00048371 | 0 | 0 | 0 | 0
4: Total loss of the line | 0 | 0 | 0.00018752 | 0 | 0 | 0
4: Debris disturbance | 0 | 0.0012706 | 0 | 0 | 0 | 0
4: Power disruption | 0 | 0 | 0.0015089 | 0 | 0 | 0
4: Detachment | 0 | 0.0020968 | 0 | 0 | 0 | 0
4: Water penetration | 0 | 0 | 0.0027778 | 0 | 0 | 0
4: Failure of end termination [6] | 0 | 0.0021132 | 0 | 0 | 0 | 0
4: breakdown of insulation | 0 | 0 | 0.0041678 | 0 | 0 | 0
4: Failure of fixing clamps | 0 | 0.0048529 | 0 | 0 | 0 | 0
4: Exposure to elements | 0 | 0 | 0.0045025 | 0 | 0 | 0
4: Failure of insulations | 0 | 0.0019184 | 0 | 0 | 0 | 0
4: Failure of sheath | 0 | 0.0035884 | 0 | 0 | 0 | 0
4: Failure of watertightness | 0 | 0.0016064 | 0 | 0 | 0 | 0
4: failures of conductors | 0 | 0.0021443 | 0 | 0 | 0 | 0
4: Loss of production | 0 | 0 | 0.0031581 | 0 | 0 | 0
4: Fatigue Cracks | 0 | 0.0012709 | 0 | 0 | 0 | 0
4: Geo-Hazards | 0 | 8.9774e-05 | 0 | 0 | 0 | 0
4: Loss of dynamic positioning | 0 | 0.0085819 | 0 | 0 | 0 | 0
4: Loss of float bility (water adsorption) | 0 | 1.7703e-06 | 0 | 0 | 0 | 0
4: material degradation | 0 | 0.00147 | 0 | 0 | 0 | 0
4: Mechanical degradation [20] | 0 | 8.2933e-08 | 0 | 0 | 0 | 0
4: Movement of CPS due to scour/seabed mobility [6] | 0 | 0.00050339 | 0 | 0 | 0 | 0
4: Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0.0003854 | 0 | 0 | 0
4: Premature damage of outer protection layer | 0 | 0.00178 | 0 | 0 | 0 | 0
4: Reduced sediment cover lower than designed value for protection [6] | 0 | 0.00060099 | 0 | 0 | 0 | 0
4: Replacement of cable | 0 | 0 | 0.000997 | 0 | 0 | 0
4: Small bending radius | 0 | 0.004689 | 0 | 0 | 0 | 0
4: Insulation degradation | 0 | 0 | 0.0035605 | 0 | 0 | 0
4: Abnormal vibration | 0 | 3.0157e-06 | 0 | 0 | 0 | 0
4: Excessive Fatigue Life Consumption | 0 | 0 | 0.0047808 | 0 | 0 | 0
4: Tower | 0 | 0 | 0 | 0.00091333 | 0 | 0
4: Potential collapse | 0 | 0 | 7.0887e-05 | 0 | 0 | 0
4: Tower Cracks | 0 | 1.7589e-13 | 0 | 0 | 0 | 0
4: Failure of whole facility and vast economic loses | 0 | 0 | 7.905e-05 | 0 | 0 | 0
4: Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0.0040038 | 0 | 0 | 0
4: Plastic deformation | 0 | 0.00027256 | 0 | 0 | 0 | 0
4: Transition piece break | 0 | 7.8841e-09 | 0 | 0 | 0 | 0
4: Tower Unit collapse, Floater Unit damage | 0 | 0 | 1.4249e-05 | 0 | 0 | 0
4: Transition piece | 0 | 0 | 0 | 0.00029908 | 0 | 0
4: tension failure (rupture), buckling of the transition piece/ Tower unit damage | 0 | 0 | 0.0012815 | 0 | 0 | 0
4: Structural plastic deformation | 0 | 6.1266e-07 | 0 | 0 | 0 | 0
4: Transition Piece Cracks | 0 | 1.8646e-07 | 0 | 0 | 0 | 0
4: Tower transition piece connections failure / resonance | 0 | 0 | 0.00089604 | 0 | 0 | 0
4: Transition piece vibration | 0 | 0.00091206 | 0 | 0 | 0 | 0
4: potential tower connections failure | 0 | 0 | 0.00069732 | 0 | 0 | 0
5: Floating Support Structure Capsize | 0 | 9.5361e-11 | 0 | 0 | 0 | 0
5: Watertight fault | 0 | 0 | 0.00065653 | 0 | 0 | 0
5: Floating Support Structure | 0 | 0 | 0 | 0.00023079 | 0 | 0
5: FOWT Failure | 0 | 0 | 0 | 0 | 1.9358e-05 | 0
5: Floating Support Structure Cracks | 0 | 6.5019e-08 | 0 | 0 | 0 | 0
5: Structural failure | 0 | 0 | 0.0011465 | 0 | 0 | 0
5: Additional Structures Failures | 0 | 4.081e-11 | 0 | 0 | 0 | 0
5: Potential Failure | 0 | 0 | 0.00087648 | 0 | 0 | 0
5: Potential failure of landing platform | 0 | 0 | 3.8974e-05 | 0 | 0 | 0
5: Floating Support Structure Watertight fault | 0 | 8.9861e-16 | 0 | 0 | 0 | 0
5: Floater unit sinkage | 0 | 8.194e-05 | 0 | 0 | 0 | 0
5: Floating Support Structure SStructural plastic deformation | 0 | 1.531e-07 | 0 | 0 | 0 | 0
5: Local stress accumulation | 0 | 0 | 3.9824e-07 | 0 | 0 | 0
5: Asset damage | 0 | 0 | 5.3005e-05 | 0 | 0 | 0
5: Increased risk of collision, potential damage to the floater | 0 | 0 | 8.8457e-05 | 0 | 0 | 0
5: Project cancellation | 0 | 0 | 0.00071818 | 0 | 0 | 0
5: Floating Support Structure Hit by dropped objects | 0 | 8.7195e-05 | 0 | 0 | 0 | 0
5: Floating Support Structure Structural break | 0 | 1.3e-17 | 0 | 0 | 0 | 0
5: Tower collapse | 0 | 0 | 1.0645e-06 | 0 | 0 | 0
5: Reduced stability | 0 | 0 | 7.612e-05 | 0 | 0 | 0
5: Structural reassessment | 0 | 0 | 3.9269e-05 | 0 | 0 | 0
5: Anchor failure [1], [17] | 0 | 7.0537e-05 | 0 | 0 | 0 | 0
5: Anchor failure | 0 | 0 | 7.5195e-05 | 0 | 0 | 0
5: Mooring lines | 0 | 0 | 0 | 0.0018449 | 0 | 0
5: Failure in buoyancy element | 0 | 5.3825e-06 | 0 | 0 | 0 | 0
5: nan | 0 | 0 | 1.785e-06 | 0 | 0 | 0
5: Failure in clump weight | 0 | 2.3176e-06 | 0 | 0 | 0 | 0
5: Fairlead failure [1], [17] | 0 | 0.0034116 | 0 | 0 | 0 | 0
5: The anchor cannot be dropped and lift | 0 | 0 | 0.0031379 | 0 | 0 | 0
5: Fairlead failure [1],[17] | 0 | 0.0031268 | 0 | 0 | 0 | 0
5: Monitoring system fails | 0 | 0.0011415 | 0 | 0 | 0 | 0
5: Unable to monitor tension in the mooring lines | 0 | 0 | 0.0011276 | 0 | 0 | 0
5: Mooring line breakage[8] | 0 | 0.00014639 | 0 | 0 | 0 | 0
5: Mooring line strength decrease or broken | 0 | 0 | 0.0016823 | 0 | 0 | 0
5: Mooring Line Corrosion [1] | 0 | 0.0035362 | 0 | 0 | 0 | 0
5: Mooring Line Fatigue [1] | 0 | 0.006636 | 0 | 0 | 0 | 0
5: Mooring line wear [1] | 0 | 0.0010004 | 0 | 0 | 0 | 0
5: Mooring lines broken [1,3] | 0 | 0.00099957 | 0 | 0 | 0 | 0
5: Asset not in correct location or position | 0 | 0 | 0.00039393 | 0 | 0 | 0
5: Mooring winch failure [1] | 0 | 0.00019003 | 0 | 0 | 0 | 0
5: accelerated mechanical fatigue | 0 | 0.0049204 | 0 | 0 | 0 | 0
5: Cable weakening | 0 | 0 | 0.0016549 | 0 | 0 | 0
5: Dynamic cable | 0 | 0 | 0 | 0.0017419 | 0 | 0
5: anchoring damages | 0 | 0.00067555 | 0 | 0 | 0 | 0
5: Cables stress | 0 | 0 | 0.0037969 | 0 | 0 | 0
5: Cable Damage | 0 | 0.0039844 | 0 | 0 | 0 | 0
5: Operational disruption | 0 | 0 | 0.0041544 | 0 | 0 | 0
5: Corrosion of J-tube [6] | 0 | 0.0025564 | 0 | 0 | 0 | 0
5: J-tube degradation affecting cable integrity | 0 | 0 | 0.0031058 | 0 | 0 | 0
5: Crushing or deformation | 0 | 0.00092318 | 0 | 0 | 0 | 0
5: damage and corrosion of mechanical parts | 0 | 0.00088963 | 0 | 0 | 0 | 0
5: Total loss of the line | 0 | 0 | 0.00057941 | 0 | 0 | 0
5: Debris disturbance | 0 | 0.0012845 | 0 | 0 | 0 | 0
5: Power disruption | 0 | 0 | 0.0014219 | 0 | 0 | 0
5: Detachment | 0 | 0.0036105 | 0 | 0 | 0 | 0
5: Water penetration | 0 | 0 | 0.0036851 | 0 | 0 | 0
5: Failure of end termination [6] | 0 | 0.0021866 | 0 | 0 | 0 | 0
5: breakdown of insulation | 0 | 0 | 0.0029309 | 0 | 0 | 0
5: Failure of fixing clamps | 0 | 0.0034766 | 0 | 0 | 0 | 0
5: Exposure to elements | 0 | 0 | 0.0028208 | 0 | 0 | 0
5: Failure of insulations | 0 | 0.001985 | 0 | 0 | 0 | 0
5: Failure of sheath | 0 | 0.0035966 | 0 | 0 | 0 | 0
5: Failure of watertightness | 0 | 0.0012676 | 0 | 0 | 0 | 0
5: failures of conductors | 0 | 0.0044157 | 0 | 0 | 0 | 0
5: Loss of production | 0 | 0 | 0.0045487 | 0 | 0 | 0
5: Fatigue Cracks | 0 | 0.0013404 | 0 | 0 | 0 | 0
5: Geo-Hazards | 0 | 6.9494e-05 | 0 | 0 | 0 | 0
5: Loss of dynamic positioning | 0 | 0.0068372 | 0 | 0 | 0 | 0
5: Loss of float bility (water adsorption) | 0 | 2.725e-06 | 0 | 0 | 0 | 0
5: material degradation | 0 | 0.0015308 | 0 | 0 | 0 | 0
5: Mechanical degradation [20] | 0 | 9.688e-08 | 0 | 0 | 0 | 0
5: Movement of CPS due to scour/seabed mobility [6] | 0 | 0.00044476 | 0 | 0 | 0 | 0
5: Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0.00032581 | 0 | 0 | 0
5: Premature damage of outer protection layer | 0 | 0.0016531 | 0 | 0 | 0 | 0
5: Reduced sediment cover lower than designed value for protection [6] | 0 | 0.00090238 | 0 | 0 | 0 | 0
5: Replacement of cable | 0 | 0 | 0.00097477 | 0 | 0 | 0
5: Small bending radius | 0 | 0.0023776 | 0 | 0 | 0 | 0
5: Insulation degradation | 0 | 0 | 0.0031967 | 0 | 0 | 0
5: Abnormal vibration | 0 | 2.1879e-06 | 0 | 0 | 0 | 0
5: Excessive Fatigue Life Consumption | 0 | 0 | 0.0032416 | 0 | 0 | 0
5: Tower | 0 | 0 | 0 | 0.00032774 | 0 | 0
5: Potential collapse | 0 | 0 | 9.7844e-05 | 0 | 0 | 0
5: Tower Cracks | 0 | 5.161e-13 | 0 | 0 | 0 | 0
5: Failure of whole facility and vast economic loses | 0 | 0 | 9.3531e-05 | 0 | 0 | 0
5: Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0.002891 | 0 | 0 | 0
5: Plastic deformation | 0 | 0.0003849 | 0 | 0 | 0 | 0
5: Transition piece break | 0 | 3.4098e-09 | 0 | 0 | 0 | 0
5: Tower Unit collapse, Floater Unit damage | 0 | 0 | 1.6104e-05 | 0 | 0 | 0
5: Transition piece | 0 | 0 | 0 | 0.00090127 | 0 | 0
5: tension failure (rupture), buckling of the transition piece/ Tower unit damage | 0 | 0 | 0.0019197 | 0 | 0 | 0
5: Structural plastic deformation | 0 | 1.7606e-08 | 0 | 0 | 0 | 0
5: Transition Piece Cracks | 0 | 8.9514e-07 | 0 | 0 | 0 | 0
5: Tower transition piece connections failure / resonance | 0 | 0 | 0.00058898 | 0 | 0 | 0
5: Transition piece vibration | 0 | 0.00010923 | 0 | 0 | 0 | 0
5: potential tower connections failure | 0 | 0 | 0.00082372 | 0 | 0 | 0
6: Floating Support Structure Capsize | 0 | 1.7144e-10 | 0 | 0 | 0 | 0
6: Watertight fault | 0 | 0 | 0.00054678 | 0 | 0 | 0
6: Floating Support Structure | 0 | 0 | 0 | 0.0001817 | 0 | 0
6: FOWT Failure | 0 | 0 | 0 | 0 | 0.00034491 | 0
6: Floating Support Structure Cracks | 0 | 9.7408e-07 | 0 | 0 | 0 | 0
6: Structural failure | 0 | 0 | 0.0011518 | 0 | 0 | 0
6: Additional Structures Failures | 0 | 4.9219e-11 | 0 | 0 | 0 | 0
6: Potential Failure | 0 | 0 | 0.00040577 | 0 | 0 | 0
6: Potential failure of landing platform | 0 | 0 | 3.6965e-05 | 0 | 0 | 0
6: Floating Support Structure Watertight fault | 0 | 2.4497e-13 | 0 | 0 | 0 | 0
6: Floater unit sinkage | 0 | 5.8218e-05 | 0 | 0 | 0 | 0
6: Floating Support Structure SStructural plastic deformation | 0 | 4.5151e-08 | 0 | 0 | 0 | 0
6: Local stress accumulation | 0 | 0 | 9.1268e-07 | 0 | 0 | 0
6: Asset damage | 0 | 0 | 6.4201e-05 | 0 | 0 | 0
6: Increased risk of collision, potential damage to the floater | 0 | 0 | 8.7197e-05 | 0 | 0 | 0
6: Project cancellation | 0 | 0 | 0.000481 | 0 | 0 | 0
6: Floating Support Structure Hit by dropped objects | 0 | 7.8407e-05 | 0 | 0 | 0 | 0
6: Floating Support Structure Structural break | 0 | 1.1004e-17 | 0 | 0 | 0 | 0
6: Tower collapse | 0 | 0 | 2.4306e-05 | 0 | 0 | 0
6: Reduced stability | 0 | 0 | 5.561e-05 | 0 | 0 | 0
6: Structural reassessment | 0 | 0 | 1.8927e-05 | 0 | 0 | 0
6: Anchor failure [1], [17] | 0 | 6.9793e-05 | 0 | 0 | 0 | 0
6: Anchor failure | 0 | 0 | 9.4694e-05 | 0 | 0 | 0
6: Mooring lines | 0 | 0 | 0 | 0.0017877 | 0 | 0
6: Failure in buoyancy element | 0 | 2.1304e-05 | 0 | 0 | 0 | 0
6: nan | 0 | 0 | 1.312e-06 | 0 | 0 | 0
6: Failure in clump weight | 0 | 1.3174e-06 | 0 | 0 | 0 | 0
6: Fairlead failure [1], [17] | 0 | 0.0038073 | 0 | 0 | 0 | 0
6: The anchor cannot be dropped and lift | 0 | 0 | 0.004147 | 0 | 0 | 0
6: Fairlead failure [1],[17] | 0 | 0.0039523 | 0 | 0 | 0 | 0
6: Monitoring system fails | 0 | 0.0019324 | 0 | 0 | 0 | 0
6: Unable to monitor tension in the mooring lines | 0 | 0 | 0.0018164 | 0 | 0 | 0
6: Mooring line breakage[8] | 0 | 0.00021935 | 0 | 0 | 0 | 0
6: Mooring line strength decrease or broken | 0 | 0 | 0.0017085 | 0 | 0 | 0
6: Mooring Line Corrosion [1] | 0 | 0.0046367 | 0 | 0 | 0 | 0
6: Mooring Line Fatigue [1] | 0 | 0.0077779 | 0 | 0 | 0 | 0
6: Mooring line wear [1] | 0 | 0.0015571 | 0 | 0 | 0 | 0
6: Mooring lines broken [1,3] | 0 | 0.0012747 | 0 | 0 | 0 | 0
6: Asset not in correct location or position | 0 | 0 | 0.00095002 | 0 | 0 | 0
6: Mooring winch failure [1] | 0 | 0.00042579 | 0 | 0 | 0 | 0
6: accelerated mechanical fatigue | 0 | 0.0021906 | 0 | 0 | 0 | 0
6: Cable weakening | 0 | 0 | 0.0016146 | 0 | 0 | 0
6: Dynamic cable | 0 | 0 | 0 | 0.0018543 | 0 | 0
6: anchoring damages | 0 | 0.00056294 | 0 | 0 | 0 | 0
6: Cables stress | 0 | 0 | 0.0032155 | 0 | 0 | 0
6: Cable Damage | 0 | 0.0027849 | 0 | 0 | 0 | 0
6: Operational disruption | 0 | 0 | 0.0020542 | 0 | 0 | 0
6: Corrosion of J-tube [6] | 0 | 0.0049202 | 0 | 0 | 0 | 0
6: J-tube degradation affecting cable integrity | 0 | 0 | 0.0039501 | 0 | 0 | 0
6: Crushing or deformation | 0 | 0.00063092 | 0 | 0 | 0 | 0
6: damage and corrosion of mechanical parts | 0 | 0.0001186 | 0 | 0 | 0 | 0
6: Total loss of the line | 0 | 0 | 0.00025463 | 0 | 0 | 0
6: Debris disturbance | 0 | 0.0017032 | 0 | 0 | 0 | 0
6: Power disruption | 0 | 0 | 0.0012083 | 0 | 0 | 0
6: Detachment | 0 | 0.0044936 | 0 | 0 | 0 | 0
6: Water penetration | 0 | 0 | 0.0045826 | 0 | 0 | 0
6: Failure of end termination [6] | 0 | 0.0039872 | 0 | 0 | 0 | 0
6: breakdown of insulation | 0 | 0 | 0.004935 | 0 | 0 | 0
6: Failure of fixing clamps | 0 | 0.0048711 | 0 | 0 | 0 | 0
6: Exposure to elements | 0 | 0 | 0.004461 | 0 | 0 | 0
6: Failure of insulations | 0 | 0.0011227 | 0 | 0 | 0 | 0
6: Failure of sheath | 0 | 0.0042005 | 0 | 0 | 0 | 0
6: Failure of watertightness | 0 | 0.0012036 | 0 | 0 | 0 | 0
6: failures of conductors | 0 | 0.0032378 | 0 | 0 | 0 | 0
6: Loss of production | 0 | 0 | 0.0034935 | 0 | 0 | 0
6: Fatigue Cracks | 0 | 0.0017123 | 0 | 0 | 0 | 0
6: Geo-Hazards | 0 | 6.0007e-05 | 0 | 0 | 0 | 0
6: Loss of dynamic positioning | 0 | 0.0072994 | 0 | 0 | 0 | 0
6: Loss of float bility (water adsorption) | 0 | 3.7794e-06 | 0 | 0 | 0 | 0
6: material degradation | 0 | 0.0019557 | 0 | 0 | 0 | 0
6: Mechanical degradation [20] | 0 | 5.0537e-07 | 0 | 0 | 0 | 0
6: Movement of CPS due to scour/seabed mobility [6] | 0 | 0.00027943 | 0 | 0 | 0 | 0
6: Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0.00021866 | 0 | 0 | 0
6: Premature damage of outer protection layer | 0 | 0.0011971 | 0 | 0 | 0 | 0
6: Reduced sediment cover lower than designed value for protection [6] | 0 | 0.00021868 | 0 | 0 | 0 | 0
6: Replacement of cable | 0 | 0 | 0.00081686 | 0 | 0 | 0
6: Small bending radius | 0 | 0.0021884 | 0 | 0 | 0 | 0
6: Insulation degradation | 0 | 0 | 0.0029136 | 0 | 0 | 0
6: Abnormal vibration | 0 | 3.8074e-06 | 0 | 0 | 0 | 0
6: Excessive Fatigue Life Consumption | 0 | 0 | 0.0030633 | 0 | 0 | 0
6: Tower | 0 | 0 | 0 | 0.00093533 | 0 | 0
6: Potential collapse | 0 | 0 | 8.6088e-05 | 0 | 0 | 0
6: Tower Cracks | 0 | 6.0824e-13 | 0 | 0 | 0 | 0
6: Failure of whole facility and vast economic loses | 0 | 0 | 5.1204e-05 | 0 | 0 | 0
6: Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0.0030454 | 0 | 0 | 0
6: Plastic deformation | 0 | 0.00015634 | 0 | 0 | 0 | 0
6: Transition piece break | 0 | 7.5372e-09 | 0 | 0 | 0 | 0
6: Tower Unit collapse, Floater Unit damage | 0 | 0 | 4.75e-05 | 0 | 0 | 0
6: Transition piece | 0 | 0 | 0 | 0.00032917 | 0 | 0
6: tension failure (rupture), buckling of the transition piece/ Tower unit damage | 0 | 0 | 0.001239 | 0 | 0 | 0
6: Structural plastic deformation | 0 | 8.4737e-07 | 0 | 0 | 0 | 0
6: Transition Piece Cracks | 0 | 1.6821e-07 | 0 | 0 | 0 | 0
6: Tower transition piece connections failure / resonance | 0 | 0 | 0.00034181 | 0 | 0 | 0
6: Transition piece vibration | 0 | 0.00015355 | 0 | 0 | 0 | 0
6: potential tower connections failure | 0 | 0 | 0.00064101 | 0 | 0 | 0
7: Floating Support Structure Capsize | 0 | 2.9245e-11 | 0 | 0 | 0 | 0
7: Watertight fault | 0 | 0 | 0.00017911 | 0 | 0 | 0
7: Floating Support Structure | 0 | 0 | 0 | 0.00043167 | 0 | 0
7: FOWT Failure | 0 | 0 | 0 | 0 | 0.00036045 | 0
7: Floating Support Structure Cracks | 0 | 1.1537e-07 | 0 | 0 | 0 | 0
7: Structural failure | 0 | 0 | 0.0015223 | 0 | 0 | 0
7: Additional Structures Failures | 0 | 3.6594e-10 | 0 | 0 | 0 | 0
7: Potential Failure | 0 | 0 | 0.00078489 | 0 | 0 | 0
7: Potential failure of landing platform | 0 | 0 | 4.1064e-05 | 0 | 0 | 0
7: Floating Support Structure Watertight fault | 0 | 9.8429e-13 | 0 | 0 | 0 | 0
7: Floater unit sinkage | 0 | 6.5471e-05 | 0 | 0 | 0 | 0
7: Floating Support Structure SStructural plastic deformation | 0 | 3.5044e-08 | 0 | 0 | 0 | 0
7: Local stress accumulation | 0 | 0 | 5.0354e-07 | 0 | 0 | 0
7: Asset damage | 0 | 0 | 9.1057e-05 | 0 | 0 | 0
7: Increased risk of collision, potential damage to the floater | 0 | 0 | 9.8246e-05 | 0 | 0 | 0
7: Project cancellation | 0 | 0 | 0.00040658 | 0 | 0 | 0
7: Floating Support Structure Hit by dropped objects | 0 | 9.7349e-05 | 0 | 0 | 0 | 0
7: Floating Support Structure Structural break | 0 | 7.2884e-18 | 0 | 0 | 0 | 0
7: Tower collapse | 0 | 0 | 3.8271e-06 | 0 | 0 | 0
7: Reduced stability | 0 | 0 | 6.8703e-05 | 0 | 0 | 0
7: Structural reassessment | 0 | 0 | 2.9586e-06 | 0 | 0 | 0
7: Anchor failure [1], [17] | 0 | 8.6558e-05 | 0 | 0 | 0 | 0
7: Anchor failure | 0 | 0 | 5.816e-05 | 0 | 0 | 0
7: Mooring lines | 0 | 0 | 0 | 0.0019494 | 0 | 0
7: Failure in buoyancy element | 0 | 2.1019e-05 | 0 | 0 | 0 | 0
7: nan | 0 | 0 | 3.6183e-06 | 0 | 0 | 0
7: Failure in clump weight | 0 | 2.7528e-06 | 0 | 0 | 0 | 0
7: Fairlead failure [1], [17] | 0 | 0.0047651 | 0 | 0 | 0 | 0
7: The anchor cannot be dropped and lift | 0 | 0 | 0.0040851 | 0 | 0 | 0
7: Fairlead failure [1],[17] | 0 | 0.0038007 | 0 | 0 | 0 | 0
7: Monitoring system fails | 0 | 0.0010928 | 0 | 0 | 0 | 0
7: Unable to monitor tension in the mooring lines | 0 | 0 | 0.0013062 | 0 | 0 | 0
7: Mooring line breakage[8] | 0 | 0.00043446 | 0 | 0 | 0 | 0
7: Mooring line strength decrease or broken | 0 | 0 | 0.0017935 | 0 | 0 | 0
7: Mooring Line Corrosion [1] | 0 | 0.0044252 | 0 | 0 | 0 | 0
7: Mooring Line Fatigue [1] | 0 | 0.0083265 | 0 | 0 | 0 | 0
7: Mooring line wear [1] | 0 | 0.0011429 | 0 | 0 | 0 | 0
7: Mooring lines broken [1,3] | 0 | 0.001927 | 0 | 0 | 0 | 0
7: Asset not in correct location or position | 0 | 0 | 0.00090235 | 0 | 0 | 0
7: Mooring winch failure [1] | 0 | 0.00019567 | 0 | 0 | 0 | 0
7: accelerated mechanical fatigue | 0 | 0.0025841 | 0 | 0 | 0 | 0
7: Cable weakening | 0 | 0 | 0.0012534 | 0 | 0 | 0
7: Dynamic cable | 0 | 0 | 0 | 0.0013957 | 0 | 0
7: anchoring damages | 0 | 0.00041002 | 0 | 0 | 0 | 0
7: Cables stress | 0 | 0 | 0.0047399 | 0 | 0 | 0
7: Cable Damage | 0 | 0.0046509 | 0 | 0 | 0 | 0
7: Operational disruption | 0 | 0 | 0.0037657 | 0 | 0 | 0
7: Corrosion of J-tube [6] | 0 | 0.0026816 | 0 | 0 | 0 | 0
7: J-tube degradation affecting cable integrity | 0 | 0 | 0.0033031 | 0 | 0 | 0
7: Crushing or deformation | 0 | 0.00093618 | 0 | 0 | 0 | 0
7: damage and corrosion of mechanical parts | 0 | 0.00023501 | 0 | 0 | 0 | 0
7: Total loss of the line | 0 | 0 | 0.00012075 | 0 | 0 | 0
7: Debris disturbance | 0 | 0.0013179 | 0 | 0 | 0 | 0
7: Power disruption | 0 | 0 | 0.001395 | 0 | 0 | 0
7: Detachment | 0 | 0.0026332 | 0 | 0 | 0 | 0
7: Water penetration | 0 | 0 | 0.0044493 | 0 | 0 | 0
7: Failure of end termination [6] | 0 | 0.0034403 | 0 | 0 | 0 | 0
7: breakdown of insulation | 0 | 0 | 0.0034332 | 0 | 0 | 0
7: Failure of fixing clamps | 0 | 0.0044618 | 0 | 0 | 0 | 0
7: Exposure to elements | 0 | 0 | 0.0036495 | 0 | 0 | 0
7: Failure of insulations | 0 | 0.0011726 | 0 | 0 | 0 | 0
7: Failure of sheath | 0 | 0.0020059 | 0 | 0 | 0 | 0
7: Failure of watertightness | 0 | 0.0016113 | 0 | 0 | 0 | 0
7: failures of conductors | 0 | 0.0047763 | 0 | 0 | 0 | 0
7: Loss of production | 0 | 0 | 0.0020445 | 0 | 0 | 0
7: Fatigue Cracks | 0 | 0.0019399 | 0 | 0 | 0 | 0
7: Geo-Hazards | 0 | 8.1259e-05 | 0 | 0 | 0 | 0
7: Loss of dynamic positioning | 0 | 0.0090148 | 0 | 0 | 0 | 0
7: Loss of float bility (water adsorption) | 0 | 3.8317e-06 | 0 | 0 | 0 | 0
7: material degradation | 0 | 0.0018206 | 0 | 0 | 0 | 0
7: Mechanical degradation [20] | 0 | 9.8104e-08 | 0 | 0 | 0 | 0
7: Movement of CPS due to scour/seabed mobility [6] | 0 | 0.00016223 | 0 | 0 | 0 | 0
7: Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0.00017136 | 0 | 0 | 0
7: Premature damage of outer protection layer | 0 | 0.0017861 | 0 | 0 | 0 | 0
7: Reduced sediment cover lower than designed value for protection [6] | 0 | 0.00073288 | 0 | 0 | 0 | 0
7: Replacement of cable | 0 | 0 | 0.00090589 | 0 | 0 | 0
7: Small bending radius | 0 | 0.0031672 | 0 | 0 | 0 | 0
7: Insulation degradation | 0 | 0 | 0.002299 | 0 | 0 | 0
7: Abnormal vibration | 0 | 2.4421e-06 | 0 | 0 | 0 | 0
7: Excessive Fatigue Life Consumption | 0 | 0 | 0.0048779 | 0 | 0 | 0
7: Tower | 0 | 0 | 0 | 0.00071516 | 0 | 0
7: Potential collapse | 0 | 0 | 8.0487e-05 | 0 | 0 | 0
7: Tower Cracks | 0 | 8.3091e-13 | 0 | 0 | 0 | 0
7: Failure of whole facility and vast economic loses | 0 | 0 | 9.3e-05 | 0 | 0 | 0
7: Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0.0034893 | 0 | 0 | 0
7: Plastic deformation | 0 | 0.00013588 | 0 | 0 | 0 | 0
7: Transition piece break | 0 | 5.344e-09 | 0 | 0 | 0 | 0
7: Tower Unit collapse, Floater Unit damage | 0 | 0 | 1.3539e-05 | 0 | 0 | 0
7: Transition piece | 0 | 0 | 0 | 0.00053447 | 0 | 0
7: tension failure (rupture), buckling of the transition piece/ Tower unit damage | 0 | 0 | 0.0015271 | 0 | 0 | 0
7: Structural plastic deformation | 0 | 1.2263e-08 | 0 | 0 | 0 | 0
7: Transition Piece Cracks | 0 | 8.5738e-07 | 0 | 0 | 0 | 0
7: Tower transition piece connections failure / resonance | 0 | 0 | 0.0006059 | 0 | 0 | 0
7: Transition piece vibration | 0 | 0.00078139 | 0 | 0 | 0 | 0
7: potential tower connections failure | 0 | 0 | 0.00076146 | 0 | 0 | 0
8: Floating Support Structure Capsize | 0 | 8.7577e-11 | 0 | 0 | 0 | 0
8: Watertight fault | 0 | 0 | 0.00082961 | 0 | 0 | 0
8: Floating Support Structure | 0 | 0 | 0 | 0.0004722 | 0 | 0
8: FOWT Failure | 0 | 0 | 0 | 0 | 0.00030252 | 0
8: Floating Support Structure Cracks | 0 | 8.8539e-07 | 0 | 0 | 0 | 0
8: Structural failure | 0 | 0 | 0.0011135 | 0 | 0 | 0
8: Additional Structures Failures | 0 | 5.6107e-10 | 0 | 0 | 0 | 0
8: Potential Failure | 0 | 0 | 0.00065125 | 0 | 0 | 0
8: Potential failure of landing platform | 0 | 0 | 4.1383e-05 | 0 | 0 | 0
8: Floating Support Structure Watertight fault | 0 | 3.0009e-13 | 0 | 0 | 0 | 0
8: Floater unit sinkage | 0 | 6.1177e-05 | 0 | 0 | 0 | 0
8: Floating Support Structure SStructural plastic deformation | 0 | 2.6192e-07 | 0 | 0 | 0 | 0
8: Local stress accumulation | 0 | 0 | 5.172e-07 | 0 | 0 | 0
8: Asset damage | 0 | 0 | 7.5171e-05 | 0 | 0 | 0
8: Increased risk of collision, potential damage to the floater | 0 | 0 | 7.0292e-05 | 0 | 0 | 0
8: Project cancellation | 0 | 0 | 0.00018453 | 0 | 0 | 0
8: Floating Support Structure Hit by dropped objects | 0 | 9.5305e-05 | 0 | 0 | 0 | 0
8: Floating Support Structure Structural break | 0 | 1.341e-17 | 0 | 0 | 0 | 0
8: Tower collapse | 0 | 0 | 4.1975e-05 | 0 | 0 | 0
8: Reduced stability | 0 | 0 | 7.3727e-05 | 0 | 0 | 0
8: Structural reassessment | 0 | 0 | 9.8568e-06 | 0 | 0 | 0
8: Anchor failure [1], [17] | 0 | 7.8844e-05 | 0 | 0 | 0 | 0
8: Anchor failure | 0 | 0 | 7.5419e-05 | 0 | 0 | 0
8: Mooring lines | 0 | 0 | 0 | 0.00143 | 0 | 0
8: Failure in buoyancy element | 0 | 5.563e-06 | 0 | 0 | 0 | 0
8: nan | 0 | 0 | 2.9825e-06 | 0 | 0 | 0
8: Failure in clump weight | 0 | 2.0314e-06 | 0 | 0 | 0 | 0
8: Fairlead failure [1], [17] | 0 | 0.0046148 | 0 | 0 | 0 | 0
8: The anchor cannot be dropped and lift | 0 | 0 | 0.0038294 | 0 | 0 | 0
8: Fairlead failure [1],[17] | 0 | 0.0032077 | 0 | 0 | 0 | 0
8: Monitoring system fails | 0 | 0.0015977 | 0 | 0 | 0 | 0
8: Unable to monitor tension in the mooring lines | 0 | 0 | 0.0015046 | 0 | 0 | 0
8: Mooring line breakage[8] | 0 | 0.0004671 | 0 | 0 | 0 | 0
8: Mooring line strength decrease or broken | 0 | 0 | 0.001275 | 0 | 0 | 0
8: Mooring Line Corrosion [1] | 0 | 0.0045817 | 0 | 0 | 0 | 0
8: Mooring Line Fatigue [1] | 0 | 0.0051203 | 0 | 0 | 0 | 0
8: Mooring line wear [1] | 0 | 0.0017383 | 0 | 0 | 0 | 0
8: Mooring lines broken [1,3] | 0 | 0.0016591 | 0 | 0 | 0 | 0
8: Asset not in correct location or position | 0 | 0 | 0.00067116 | 0 | 0 | 0
8: Mooring winch failure [1] | 0 | 0.00028917 | 0 | 0 | 0 | 0
8: accelerated mechanical fatigue | 0 | 0.004862 | 0 | 0 | 0 | 0
8: Cable weakening | 0 | 0 | 0.0018486 | 0 | 0 | 0
8: Dynamic cable | 0 | 0 | 0 | 0.0017569 | 0 | 0
8: anchoring damages | 0 | 0.00046799 | 0 | 0 | 0 | 0
8: Cables stress | 0 | 0 | 0.0045628 | 0 | 0 | 0
8: Cable Damage | 0 | 0.0032255 | 0 | 0 | 0 | 0
8: Operational disruption | 0 | 0 | 0.0020337 | 0 | 0 | 0
8: Corrosion of J-tube [6] | 0 | 0.0036102 | 0 | 0 | 0 | 0
8: J-tube degradation affecting cable integrity | 0 | 0 | 0.0036955 | 0 | 0 | 0
8: Crushing or deformation | 0 | 0.00033668 | 0 | 0 | 0 | 0
8: damage and corrosion of mechanical parts | 0 | 0.00071954 | 0 | 0 | 0 | 0
8: Total loss of the line | 0 | 0 | 0.00019518 | 0 | 0 | 0
8: Debris disturbance | 0 | 0.0013935 | 0 | 0 | 0 | 0
8: Power disruption | 0 | 0 | 0.0016825 | 0 | 0 | 0
8: Detachment | 0 | 0.0034812 | 0 | 0 | 0 | 0
8: Water penetration | 0 | 0 | 0.0033986 | 0 | 0 | 0
8: Failure of end termination [6] | 0 | 0.0039845 | 0 | 0 | 0 | 0
8: breakdown of insulation | 0 | 0 | 0.0044296 | 0 | 0 | 0
8: Failure of fixing clamps | 0 | 0.0031098 | 0 | 0 | 0 | 0
8: Exposure to elements | 0 | 0 | 0.0034871 | 0 | 0 | 0
8: Failure of insulations | 0 | 0.0017276 | 0 | 0 | 0 | 0
8: Failure of sheath | 0 | 0.0024697 | 0 | 0 | 0 | 0
8: Failure of watertightness | 0 | 0.0015833 | 0 | 0 | 0 | 0
8: failures of conductors | 0 | 0.0028481 | 0 | 0 | 0 | 0
8: Loss of production | 0 | 0 | 0.0023394 | 0 | 0 | 0
8: Fatigue Cracks | 0 | 0.0010551 | 0 | 0 | 0 | 0
8: Geo-Hazards | 0 | 9.7163e-05 | 0 | 0 | 0 | 0
8: Loss of dynamic positioning | 0 | 0.0062781 | 0 | 0 | 0 | 0
8: Loss of float bility (water adsorption) | 0 | 1.3236e-06 | 0 | 0 | 0 | 0
8: material degradation | 0 | 0.0018101 | 0 | 0 | 0 | 0
8: Mechanical degradation [20] | 0 | 3.8689e-07 | 0 | 0 | 0 | 0
8: Movement of CPS due to scour/seabed mobility [6] | 0 | 0.00028974 | 0 | 0 | 0 | 0
8: Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0.0001121 | 0 | 0 | 0
8: Premature damage of outer protection layer | 0 | 0.0016907 | 0 | 0 | 0 | 0
8: Reduced sediment cover lower than designed value for protection [6] | 0 | 0.00010071 | 0 | 0 | 0 | 0
8: Replacement of cable | 0 | 0 | 0.00064123 | 0 | 0 | 0
8: Small bending radius | 0 | 0.0026735 | 0 | 0 | 0 | 0
8: Insulation degradation | 0 | 0 | 0.0048374 | 0 | 0 | 0
8: Abnormal vibration | 0 | 3.556e-06 | 0 | 0 | 0 | 0
8: Excessive Fatigue Life Consumption | 0 | 0 | 0.0021703 | 0 | 0 | 0
8: Tower | 0 | 0 | 0 | 0.0004233 | 0 | 0
8: Potential collapse | 0 | 0 | 6.426e-05 | 0 | 0 | 0
8: Tower Cracks | 0 | 1.7034e-13 | 0 | 0 | 0 | 0
8: Failure of whole facility and vast economic loses | 0 | 0 | 6.8038e-05 | 0 | 0 | 0
8: Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0.0033365 | 0 | 0 | 0
8: Plastic deformation | 0 | 0.00071291 | 0 | 0 | 0 | 0
8: Transition piece break | 0 | 4.8756e-09 | 0 | 0 | 0 | 0
8: Tower Unit collapse, Floater Unit damage | 0 | 0 | 2.1752e-05 | 0 | 0 | 0
8: Transition piece | 0 | 0 | 0 | 0.00074283 | 0 | 0
8: tension failure (rupture), buckling of the transition piece/ Tower unit damage | 0 | 0 | 0.0019413 | 0 | 0 | 0
8: Structural plastic deformation | 0 | 7.6717e-07 | 0 | 0 | 0 | 0
8: Transition Piece Cracks | 0 | 1.9864e-07 | 0 | 0 | 0 | 0
8: Tower transition piece connections failure / resonance | 0 | 0 | 0.00048871 | 0 | 0 | 0
8: Transition piece vibration | 0 | 0.00029973 | 0 | 0 | 0 | 0
8: potential tower connections failure | 0 | 0 | 0.00010546 | 0 | 0 | 0
9: Floating Support Structure Capsize | 0 | 1.9437e-10 | 0 | 0 | 0 | 0
9: Watertight fault | 0 | 0 | 0.00031781 | 0 | 0 | 0
9: Floating Support Structure | 0 | 0 | 0 | 0.00077373 | 0 | 0
9: FOWT Failure | 0 | 0 | 0 | 0 | 0.00046125 | 0
9: Floating Support Structure Cracks | 0 | 4.0124e-07 | 0 | 0 | 0 | 0
9: Structural failure | 0 | 0 | 0.0010472 | 0 | 0 | 0
9: Additional Structures Failures | 0 | 1.7275e-10 | 0 | 0 | 0 | 0
9: Potential Failure | 0 | 0 | 0.00051533 | 0 | 0 | 0
9: Potential failure of landing platform | 0 | 0 | 2.7358e-05 | 0 | 0 | 0
9: Floating Support Structure Watertight fault | 0 | 5.4264e-13 | 0 | 0 | 0 | 0
9: Floater unit sinkage | 0 | 6.09e-05 | 0 | 0 | 0 | 0
9: Floating Support Structure SStructural plastic deformation | 0 | 1.3489e-07 | 0 | 0 | 0 | 0
9: Local stress accumulation | 0 | 0 | 5.5417e-07 | 0 | 0 | 0
9: Asset damage | 0 | 0 | 9.4882e-05 | 0 | 0 | 0
9: Increased risk of collision, potential damage to the floater | 0 | 0 | 7.9483e-05 | 0 | 0 | 0
9: Project cancellation | 0 | 0 | 0.00058682 | 0 | 0 | 0
9: Floating Support Structure Hit by dropped objects | 0 | 9.9725e-05 | 0 | 0 | 0 | 0
9: Floating Support Structure Structural break | 0 | 3.0575e-17 | 0 | 0 | 0 | 0
9: Tower collapse | 0 | 0 | 3.5169e-05 | 0 | 0 | 0
9: Reduced stability | 0 | 0 | 9.1791e-05 | 0 | 0 | 0
9: Structural reassessment | 0 | 0 | 7.5688e-06 | 0 | 0 | 0
9: Anchor failure [1], [17] | 0 | 8.2961e-05 | 0 | 0 | 0 | 0
9: Anchor failure | 0 | 0 | 6.4995e-05 | 0 | 0 | 0
9: Mooring lines | 0 | 0 | 0 | 0.0016783 | 0 | 0
9: Failure in buoyancy element | 0 | 1.6855e-05 | 0 | 0 | 0 | 0
9: nan | 0 | 0 | 1.8314e-06 | 0 | 0 | 0
9: Failure in clump weight | 0 | 2.1427e-06 | 0 | 0 | 0 | 0
9: Fairlead failure [1], [17] | 0 | 0.0026127 | 0 | 0 | 0 | 0
9: The anchor cannot be dropped and lift | 0 | 0 | 0.0031911 | 0 | 0 | 0
9: Fairlead failure [1],[17] | 0 | 0.0033225 | 0 | 0 | 0 | 0
9: Monitoring system fails | 0 | 0.0011706 | 0 | 0 | 0 | 0
9: Unable to monitor tension in the mooring lines | 0 | 0 | 0.0018676 | 0 | 0 | 0
9: Mooring line breakage[8] | 0 | 0.00056407 | 0 | 0 | 0 | 0
9: Mooring line strength decrease or broken | 0 | 0 | 0.0011669 | 0 | 0 | 0
9: Mooring Line Corrosion [1] | 0 | 0.0038815 | 0 | 0 | 0 | 0
9: Mooring Line Fatigue [1] | 0 | 0.0073079 | 0 | 0 | 0 | 0
9: Mooring line wear [1] | 0 | 0.0019396 | 0 | 0 | 0 | 0
9: Mooring lines broken [1,3] | 0 | 0.0011611 | 0 | 0 | 0 | 0
9: Asset not in correct location or position | 0 | 0 | 0.00025796 | 0 | 0 | 0
9: Mooring winch failure [1] | 0 | 0.00091122 | 0 | 0 | 0 | 0
9: accelerated mechanical fatigue | 0 | 0.0037039 | 0 | 0 | 0 | 0
9: Cable weakening | 0 | 0 | 0.0012153 | 0 | 0 | 0
9: Dynamic cable | 0 | 0 | 0 | 0.0013385 | 0 | 0
9: anchoring damages | 0 | 0.00030433 | 0 | 0 | 0 | 0
9: Cables stress | 0 | 0 | 0.0026235 | 0 | 0 | 0
9: Cable Damage | 0 | 0.0042382 | 0 | 0 | 0 | 0
9: Operational disruption | 0 | 0 | 0.0038654 | 0 | 0 | 0
9: Corrosion of J-tube [6] | 0 | 0.0043458 | 0 | 0 | 0 | 0
9: J-tube degradation affecting cable integrity | 0 | 0 | 0.0028953 | 0 | 0 | 0
9: Crushing or deformation | 0 | 0.00098371 | 0 | 0 | 0 | 0
9: damage and corrosion of mechanical parts | 0 | 0.00031122 | 0 | 0 | 0 | 0
9: Total loss of the line | 0 | 0 | 0.00099064 | 0 | 0 | 0
9: Debris disturbance | 0 | 0.0018256 | 0 | 0 | 0 | 0
9: Power disruption | 0 | 0 | 0.0019039 | 0 | 0 | 0
9: Detachment | 0 | 0.0038199 | 0 | 0 | 0 | 0
9: Water penetration | 0 | 0 | 0.0038959 | 0 | 0 | 0
9: Failure of end termination [6] | 0 | 0.004763 | 0 | 0 | 0 | 0
9: breakdown of insulation | 0 | 0 | 0.003297 | 0 | 0 | 0
9: Failure of fixing clamps | 0 | 0.004592 | 0 | 0 | 0 | 0
9: Exposure to elements | 0 | 0 | 0.0049394 | 0 | 0 | 0
9: Failure of insulations | 0 | 0.0019734 | 0 | 0 | 0 | 0
9: Failure of sheath | 0 | 0.0023441 | 0 | 0 | 0 | 0
9: Failure of watertightness | 0 | 0.0013477 | 0 | 0 | 0 | 0
9: failures of conductors | 0 | 0.0022926 | 0 | 0 | 0 | 0
9: Loss of production | 0 | 0 | 0.0028936 | 0 | 0 | 0
9: Fatigue Cracks | 0 | 0.001024 | 0 | 0 | 0 | 0
9: Geo-Hazards | 0 | 8.0473e-05 | 0 | 0 | 0 | 0
9: Loss of dynamic positioning | 0 | 0.005415 | 0 | 0 | 0 | 0
9: Loss of float bility (water adsorption) | 0 | 2.1908e-06 | 0 | 0 | 0 | 0
9: material degradation | 0 | 0.0013908 | 0 | 0 | 0 | 0
9: Mechanical degradation [20] | 0 | 6.3148e-07 | 0 | 0 | 0 | 0
9: Movement of CPS due to scour/seabed mobility [6] | 0 | 0.00017375 | 0 | 0 | 0 | 0
9: Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0.00073633 | 0 | 0 | 0
9: Premature damage of outer protection layer | 0 | 0.001584 | 0 | 0 | 0 | 0
9: Reduced sediment cover lower than designed value for protection [6] | 0 | 0.00050873 | 0 | 0 | 0 | 0
9: Replacement of cable | 0 | 0 | 0.00032588 | 0 | 0 | 0
9: Small bending radius | 0 | 0.0043724 | 0 | 0 | 0 | 0
9: Insulation degradation | 0 | 0 | 0.0048816 | 0 | 0 | 0
9: Abnormal vibration | 0 | 3.7422e-06 | 0 | 0 | 0 | 0
9: Excessive Fatigue Life Consumption | 0 | 0 | 0.004909 | 0 | 0 | 0
9: Tower | 0 | 0 | 0 | 0.00010699 | 0 | 0
9: Potential collapse | 0 | 0 | 8.2643e-05 | 0 | 0 | 0
9: Tower Cracks | 0 | 8.2256e-13 | 0 | 0 | 0 | 0
9: Failure of whole facility and vast economic loses | 0 | 0 | 5.5797e-05 | 0 | 0 | 0
9: Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0.0047382 | 0 | 0 | 0
9: Plastic deformation | 0 | 0.00026416 | 0 | 0 | 0 | 0
9: Transition piece break | 0 | 3.4018e-09 | 0 | 0 | 0 | 0
9: Tower Unit collapse, Floater Unit damage | 0 | 0 | 4.8138e-05 | 0 | 0 | 0
9: Transition piece | 0 | 0 | 0 | 0.00087008 | 0 | 0
9: tension failure (rupture), buckling of the transition piece/ Tower unit damage | 0 | 0 | 0.0011693 | 0 | 0 | 0
9: Structural plastic deformation | 0 | 2.6776e-07 | 0 | 0 | 0 | 0
9: Transition Piece Cracks | 0 | 1.1547e-07 | 0 | 0 | 0 | 0
9: Tower transition piece connections failure / resonance | 0 | 0 | 0.00075468 | 0 | 0 | 0
9: Transition piece vibration | 0 | 0.00087375 | 0 | 0 | 0 | 0
9: potential tower connections failure | 0 | 0 | 0.00049544 | 0 | 0 | 0