## allProbs
| Cause | Mode | Effect | System | FOWT | Farm | Cause | Mode | Effect | System | FOWT | Farm
Floating Support Structure Capsize | 0 | 1.3302e-10 | 0 | 0 | 0 | 0 | 0.0013107 | 0.0068953 | 0.0048626 | 0.001649 | 0.00019172 | 0.5
Watertight fault | 0 | 0 | 0.00046097 | 0 | 0 | 0 | Operation | Loss of dynamic positioning | Operational disruption | Dynamic cable | FOWT Failure | Farm Failure
Design | 9.762e-101 | 0 | 0 | 0 | 0 | 0 | 1 | 0.098934 | 0.090864 | 0.32272 | 1 | 1
Floating Support Structure | 0 | 0 | 0 | 0.00033112 | 0 | 0
FOWT Failure | 0 | 0 | 0 | 0 | 0.00019172 | 0
Farm Failure | 0 | 0 | 0 | 0 | 0 | 0.5
Floating Support Structure Cracks | 0 | 3.9707e-07 | 0 | 0 | 0 | 0
Structural failure | 0 | 0 | 0.0012137 | 0 | 0 | 0
Additional Structures Failures | 0 | 5.8245e-10 | 0 | 0 | 0 | 0
Potential Failure | 0 | 0 | 0.00081397 | 0 | 0 | 0
Operation | 0.0013107 | 0 | 0 | 0 | 0 | 0
Potential failure of landing platform | 0 | 0 | 3.4567e-05 | 0 | 0 | 0
Floating Support Structure Watertight fault | 0 | 1.9432e-13 | 0 | 0 | 0 | 0
Maintenance | 1.9898e-70 | 0 | 0 | 0 | 0 | 0
Floater unit sinkage | 0 | 7.8028e-05 | 0 | 0 | 0 | 0
Floating Support Structure SStructural plastic deformation | 0 | 1.7151e-07 | 0 | 0 | 0 | 0
Local stress accumulation | 0 | 0 | 1.0292e-07 | 0 | 0 | 0
Operation and Maintenance | 8.5026e-35 | 0 | 0 | 0 | 0 | 0
Asset damage | 0 | 0 | 9.1218e-05 | 0 | 0 | 0
Environmental condition | 9.8458e-97 | 0 | 0 | 0 | 0 | 0
Increased risk of collision, potential damage to the floater | 0 | 0 | 7.3304e-05 | 0 | 0 | 0
Project cancellation | 0 | 0 | 0.00092151 | 0 | 0 | 0
Floating Support Structure Hit by dropped objects | 0 | 7.5301e-05 | 0 | 0 | 0 | 0
Floating Support Structure Structural break | 0 | 2.677e-17 | 0 | 0 | 0 | 0
Tower collapse | 0 | 0 | 4.8998e-05 | 0 | 0 | 0
Reduced stability | 0 | 0 | 9.2848e-05 | 0 | 0 | 0
Manufacturing and Installation | 6.5155e-17 | 0 | 0 | 0 | 0 | 0
Manufacturing | 3.197e-37 | 0 | 0 | 0 | 0 | 0
Structural reassessment | 0 | 0 | 7.6141e-06 | 0 | 0 | 0
Installation | 4.4293e-36 | 0 | 0 | 0 | 0 | 0
Anchor failure [1], [17] | 0 | 8.9944e-05 | 0 | 0 | 0 | 0
Anchor failure | 0 | 0 | 5.2309e-05 | 0 | 0 | 0
Mooring lines | 0 | 0 | 0 | 0.0015304 | 0 | 0
Failure in buoyancy element | 0 | 1.668e-05 | 0 | 0 | 0 | 0
nan | 0 | 0 | 2.4395e-06 | 0 | 0 | 0
Failure in clump weight | 0 | 3.4569e-06 | 0 | 0 | 0 | 0
Fairlead failure [1], [17] | 0 | 0.0023602 | 0 | 0 | 0 | 0
The anchor cannot be dropped and lift | 0 | 0 | 0.0032283 | 0 | 0 | 0
Fairlead failure [1],[17] | 0 | 0.0027134 | 0 | 0 | 0 | 0
Monitoring system fails | 0 | 0.0019305 | 0 | 0 | 0 | 0
Unable to monitor tension in the mooring lines | 0 | 0 | 0.0011765 | 0 | 0 | 0
Mooring line breakage[8] | 0 | 0.00048439 | 0 | 0 | 0 | 0
Mooring line strength decrease or broken | 0 | 0 | 0.0010163 | 0 | 0 | 0
Mooring Line Corrosion [1] | 0 | 0.002488 | 0 | 0 | 0 | 0
Mooring Line Fatigue [1] | 0 | 0.0053395 | 0 | 0 | 0 | 0
Mooring line wear [1] | 0 | 0.0013605 | 0 | 0 | 0 | 0
Mooring lines broken [1,3] | 0 | 0.0018381 | 0 | 0 | 0 | 0
Asset not in correct location or position | 0 | 0 | 0.00085202 | 0 | 0 | 0
Mooring winch failure [1] | 0 | 0.00056036 | 0 | 0 | 0 | 0
accelerated mechanical fatigue | 0 | 0.003925 | 0 | 0 | 0 | 0
Cable weakening | 0 | 0 | 0.0017892 | 0 | 0 | 0
Dynamic cable | 0 | 0 | 0 | 0.001649 | 0 | 0
anchoring damages | 0 | 0.00087701 | 0 | 0 | 0 | 0
Cables stress | 0 | 0 | 0.0038263 | 0 | 0 | 0
Cable Damage | 0 | 0.0042507 | 0 | 0 | 0 | 0
Operational disruption | 0 | 0 | 0.0048626 | 0 | 0 | 0
Corrosion of J-tube [6] | 0 | 0.0040298 | 0 | 0 | 0 | 0
J-tube degradation affecting cable integrity | 0 | 0 | 0.0026369 | 0 | 0 | 0
Crushing or deformation | 0 | 0.00074776 | 0 | 0 | 0 | 0
damage and corrosion of mechanical parts | 0 | 0.00091635 | 0 | 0 | 0 | 0
Total loss of the line | 0 | 0 | 0.00029374 | 0 | 0 | 0
Debris disturbance | 0 | 0.0012002 | 0 | 0 | 0 | 0
Power disruption | 0 | 0 | 0.0013197 | 0 | 0 | 0
Detachment | 0 | 0.0029118 | 0 | 0 | 0 | 0
Water penetration | 0 | 0 | 0.0039429 | 0 | 0 | 0
Failure of end termination [6] | 0 | 0.0042868 | 0 | 0 | 0 | 0
breakdown of insulation | 0 | 0 | 0.0028093 | 0 | 0 | 0
Failure of fixing clamps | 0 | 0.0021126 | 0 | 0 | 0 | 0
Exposure to elements | 0 | 0 | 0.0027967 | 0 | 0 | 0
Failure of insulations | 0 | 0.0018587 | 0 | 0 | 0 | 0
Failure of sheath | 0 | 0.0027281 | 0 | 0 | 0 | 0
Failure of watertightness | 0 | 0.0015373 | 0 | 0 | 0 | 0
failures of conductors | 0 | 0.0025614 | 0 | 0 | 0 | 0
Loss of production | 0 | 0 | 0.0048174 | 0 | 0 | 0
Fatigue Cracks | 0 | 0.0011498 | 0 | 0 | 0 | 0
Geo-Hazards | 0 | 5.3519e-05 | 0 | 0 | 0 | 0
Loss of dynamic positioning | 0 | 0.0068953 | 0 | 0 | 0 | 0
Loss of float bility (water adsorption) | 0 | 3.18e-06 | 0 | 0 | 0 | 0
<None> | 1.5555e-14 | 0 | 0 | 0 | 0 | 0
material degradation | 0 | 0.0018167 | 0 | 0 | 0 | 0
Mechanical degradation [20] | 0 | 2.9685e-07 | 0 | 0 | 0 | 0
Movement of CPS due to scour/seabed mobility [6] | 0 | 0.00091547 | 0 | 0 | 0 | 0
Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0.00084623 | 0 | 0 | 0
Premature damage of outer protection layer | 0 | 0.0014544 | 0 | 0 | 0 | 0
Reduced sediment cover lower than designed value for protection [6] | 0 | 0.00086791 | 0 | 0 | 0 | 0
Replacement of cable | 0 | 0 | 0.00089849 | 0 | 0 | 0
Small bending radius | 0 | 0.0028861 | 0 | 0 | 0 | 0
Insulation degradation | 0 | 0 | 0.0028873 | 0 | 0 | 0
Abnormal vibration | 0 | 2.2364e-06 | 0 | 0 | 0 | 0
Excessive Fatigue Life Consumption | 0 | 0 | 0.0031437 | 0 | 0 | 0
Tower | 0 | 0 | 0 | 0.00079262 | 0 | 0
Potential collapse | 0 | 0 | 5.947e-05 | 0 | 0 | 0
Tower Cracks | 0 | 8.9978e-13 | 0 | 0 | 0 | 0
Failure of whole facility and vast economic loses | 0 | 0 | 6.2401e-05 | 0 | 0 | 0
Fabrication | 1.0912e-24 | 0 | 0 | 0 | 0 | 0
Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0.0043082 | 0 | 0 | 0
Plastic deformation | 0 | 0.0002041 | 0 | 0 | 0 | 0
Transition piece break | 0 | 3.0598e-09 | 0 | 0 | 0 | 0
Tower Unit collapse, Floater Unit damage | 0 | 0 | 3.8238e-05 | 0 | 0 | 0
Transition piece | 0 | 0 | 0 | 0.00080652 | 0 | 0
tension failure (rupture), buckling of the transition piece/ Tower unit damage | 0 | 0 | 0.0015422 | 0 | 0 | 0
Structural plastic deformation | 0 | 1.1145e-07 | 0 | 0 | 0 | 0
Transition Piece Cracks | 0 | 1.3349e-07 | 0 | 0 | 0 | 0
Tower transition piece connections failure / resonance | 0 | 0 | 0.00040634 | 0 | 0 | 0
Transition piece vibration | 0 | 0.00016507 | 0 | 0 | 0 | 0
potential tower connections failure | 0 | 0 | 0.00014137 | 0 | 0 | 0