## allProbs
| 0: broken mooring line | 0: Mooring line strength decrease | 0: Asset not in correct location or position | 0: Anchor cannot be dropped and lift | 0: Anchor failure | 0: Unable to monitor tension in the mooring lines | 0: Watertight fault | 0: Structural failure | 0: Local stress accumulation | 0: Structural reassessment | 0: Potential Floater Unit sinkage | 0: Tower collapse | 0: Project cancellation | 0: Reduced stability | 0: Asset damage Energy production loss | 0: Potential Failure | 0: Risk to the watertightness. | 0: Increased risk of collision, potential damage to the floater | 0: Potential failure of landing platform | 0: Lack of integrity estimates from operational data | 0: Cable being vulnerable to scour and need for repair or replacement | 0: Reduced or interupted electricity flow | 0: need for re-burial, change of cable protection requirement or even replacement of cable | 0: J-tube degradation affecting cable integrity | 0: High risk of fault on the cable - total loss of the line: Prodution loss on the string | 0: Interrupted monitoring data flow | 0: Increased cable degradation rate | 0: Electrical faults - loss of production | 0: Crack may evolve in a fault of the cable - Cable weakening | 0: Cable damage, production disruption | 0: Increased cables stress | 0: Cable damage - exposure to elements | 0: Cable damage - insulation degradation | 0: Cable damage - operational disruption | 0: Structural integrity damage | 0: cable disconnection - Power loss | 0: Structural damage - cable weakening | 0: Weakening of cable materials - loss of production | 0: Failure of the WTG/Major repair campaign/Structure reassessment | 0: Failure of whole facility and vast economic loses | 0: Excessive Fatigue Life Consumption | 0: Tower transition piece connections failure | 0: displacement variations between tower end | 0: Local stress accumulation | 0: Floater Unit damage | 0: tension failure (rupture), buckling of the transition piece | 0: Mooring line breakage | 0: Mooring line wear | 0: Mooring Line Fatigue | 0: Mooring Line Corrosion | 0: Excessive stress on mooring lines | 0: Mooring winch failure | 0: Fairlead failure | 0: Monitoring system fails | 0: Failure in clump weight | 0: Failure in buoyancy element | 0: Hit by dropped objects | 0: Floating Structure Cracks | 0: Structural plastic deformation | 0: Structural break | 0: Capsize | 0: Floater unit sinkage | 0: Additional Structures Failures | 0: Movement of CPS due to scour/seabed mobility | 0: Failure of watertightness | 0: Failure of end termination | 0: Reduced sediment cover lower than designed value for protection | 0: Corrosion of J-tube | 0: damage/ corrosion of mechanical parts | 0: Mechanical degradation | 0: Failure of fixing clamps | 0: failures of conductors | 0: Failure of insulations | 0: Failure of sheath | 0: Fatigue Cracks | 0: accelerated mechanical fatigue | 0: Geo-Hazards | 0: Premature damage of outer protection layer | 0: Loss of dynamic positioning | 0: Small bending radius | 0: Bending and motion | 0: anchoring damages | 0: Detachment | 0: Crushing or deformation | 0: material degradation | 0: Abrasion and wear marks | 0: Debris disturbance, | 0: Tower Cracks | 0: Tower Plastic deformation | 0: Tower Abnormal vibration | 0: Transition Piece Cracks | 0: Transition Piece Abnormal vibration | 0: Transition Piece Structural plastic deformation | 0: Transition piece break
0: broken mooring line | 1 | 0.0018479 | 0.00027565 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 3.9115e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015501 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038224 | 0.004368 | 0.0032675 | 0.0014712 | 0 | 0.0015851 | 0.0019931 | 0.0042908 | 0.00097138 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00027563 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.00027606 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039706 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011647
0: Mooring line strength decrease | 0.00027591 | 1 | 0.00091561 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 3.9166e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038224 | 0.004368 | 0.0032675 | 0.0014712 | 0 | 0.0015834 | 0.0019931 | 0.0042908 | 0.00097138 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00042524 | 0.0013396 | 0.00093386 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024213 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011574
0: Asset not in correct location or position | 0.00055044 | 0.0018479 | 1 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 0.00015635 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.00045873 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045994 | 0.0038224 | 0.004368 | 0.0032666 | 0.0014712 | 0 | 0.0015863 | 0.0019931 | 0.0042908 | 0.0015827 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00042484 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025232 | 0 | 0.00010543 | 0 | 0.00083509 | 0.00061325 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024207 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039728 | 0 | 0 | 0.0018741 | 0.0011386 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011671
0: Anchor cannot be dropped and lift | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Anchor failure | 0.00054978 | 0.0018474 | 0.00091543 | 0 | 1 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8043e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038224 | 0.004368 | 0.0032675 | 0.0014712 | 0 | 0.0015834 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084734 | 0.0013396 | 0.0091801 | 0 | 3.1126e-05 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024207 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01169
0: Unable to monitor tension in the mooring lines | 0.00081543 | 0.0018487 | 0.00045858 | 0 | 0 | 1 | 0 | 0 | 0.0019496 | 0 | 0 | 3.9142e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015499 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045994 | 0.0038194 | 0.0043645 | 0.0032666 | 0.0014712 | 0 | 0.0025782 | 0.0019931 | 0.0042908 | 0.00097138 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00042497 | 0.00061579 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021102 | 0.0025077 | 0 | 0.0036014 | 0.0010953 | 0.00044911 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024201 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039706 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011672
0: Watertight fault | 0.001101 | 0.0018479 | 0.00091491 | 0.0033228 | 0 | 0.0012282 | 1 | 0 | 0.0019496 | 8.0646e-05 | 0.0019205 | 7.8134e-05 | 0.00071532 | 0.00050409 | 0.00048133 | 0.00050423 | 0.00050408 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040857 | 0.00061336 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014712 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0.0035154 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0.00044817 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 0.00050537 | 0.00050411 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011741
0: Structural failure | 0 | 0 | 0 | 0.0033279 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00048031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010679
0: Local stress accumulation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Structural reassessment | 0 | 0 | 0 | 0.0033286 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0492e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010674
0: Potential Floater Unit sinkage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Tower collapse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9131e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010639
0: Project cancellation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Reduced stability | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Asset damage Energy production loss | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Potential Failure | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8098e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 1 | 0 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040853 | 0.00061334 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014712 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.0015824 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 0.00067488 | 0.00054913 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011651
0: Risk to the watertightness. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Increased risk of collision, potential damage to the floater | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019497 | 0 | 0 | 7.812e-05 | 0.00071547 | 0.0010664 | 0.00096105 | 0.0013442 | 0 | 1 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045994 | 0.0038224 | 0.004368 | 0.0032692 | 0.0014712 | 0 | 0.0015866 | 0.0019931 | 0.0042929 | 0.0012782 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00012648 | 0 | 5.2848e-05 | 0 | 0.00041861 | 0.00030741 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00019915 | 0 | 0 | 0.000777 | 0.00057074 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011653
0: Potential failure of landing platform | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Lack of integrity estimates from operational data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Cable being vulnerable to scour and need for repair or replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0032709 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0004592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010678
0: Reduced or interupted electricity flow | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: need for re-burial, change of cable protection requirement or even replacement of cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: J-tube degradation affecting cable integrity | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 1 | 0.00061318 | 0.0013927 | 0.00064646 | 0.002293 | 0 | 0.00045316 | 0.0046022 | 0.0038257 | 0.0043719 | 0.0032702 | 0.00074161 | 0 | 0.0015856 | 0.001994 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021119 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044949 | 0.0048713 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011638
0: High risk of fault on the cable - total loss of the line: Prodution loss on the string | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8098e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013437 | 0 | 0.0015497 | 7.6888e-05 | 0.00038862 | 0 | 0.0016568 | 0 | 0.0040787 | 1 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038224 | 0.004368 | 0.0032666 | 0.0014712 | 0 | 0.0015863 | 0.0019931 | 0.0042908 | 0.0015824 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.00030738 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039706 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011683
0: Interrupted monitoring data flow | 0.0011012 | 0.0018479 | 0.00091519 | 0 | 0 | 0.00061582 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8115e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 1 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045915 | 0.0038194 | 0.0043645 | 0.0032666 | 0.0014712 | 0 | 0.002578 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084812 | 0.00134 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0006597 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021102 | 0.0025077 | 0 | 0.0036014 | 0.0010953 | 0.00044911 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.00070138 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011614
0: Increased cable degradation rate | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016578 | 0 | 0.0040787 | 0.00061318 | 0.0013929 | 1 | 0.002293 | 0 | 0.00022709 | 0.0046026 | 0.00064629 | 0.00064664 | 0.00064593 | 0.00064478 | 0 | 0.00064485 | 0.00064511 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.001226 | 0.002511 | 0 | 0.0036014 | 0.0010953 | 0.00026092 | 0.0048717 | 0.0024463 | 0.0011946 | 0 | 0 | 0.0024195 | 0 | 0.0012678 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011534
0: Electrical faults - loss of production | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Crack may evolve in a fault of the cable - Cable weakening | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Cable damage, production disruption | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Increased cables stress | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Cable damage - exposure to elements | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016586 | 0 | 0.0040787 | 0.00061318 | 0.0013931 | 0.0012824 | 0.0022944 | 0 | 0.00045319 | 0.0045779 | 1 | 0.0043645 | 0.0032666 | 0.0014712 | 0 | 0.002578 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.00052996 | 0.0025077 | 0 | 0.0036014 | 0.0010953 | 0.00011279 | 0.0048683 | 0.0012306 | 0.00060093 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011626
0: Cable damage - insulation degradation | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016586 | 0 | 0.0040787 | 0.00061318 | 0.0013931 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038194 | 1 | 0.0032666 | 0.0014712 | 0 | 0.002578 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.00053025 | 0.0025077 | 0 | 0.0036014 | 0.0010953 | 0.00011285 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011639
0: Cable damage - operational disruption | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Structural integrity damage | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.001658 | 0 | 0.0040787 | 0.00061318 | 0.001393 | 0.001284 | 0.002293 | 0 | 0.00045302 | 0.00074199 | 0.0038195 | 0.0043696 | 0.0032686 | 1 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0010519 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00022387 | 0.00074219 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011581
0: cable disconnection - Power loss | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8098e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013434 | 0 | 0.0015493 | 7.6871e-05 | 0.00038853 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038224 | 0.004368 | 0.0032666 | 0.0014712 | 1 | 0.0015863 | 0.0019931 | 0.0042908 | 0.0015824 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.00074209 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011694
0: Structural damage - cable weakening | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016578 | 0 | 0.0040787 | 0.00061318 | 0.0013929 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.00079665 | 0.00079708 | 0.0007962 | 0.0014712 | 0 | 1 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0012648 | 0.0007956 | 0 | 0.0036014 | 0.0010953 | 0.00026918 | 0.0048683 | 0.0024461 | 0.0011945 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011553
0: Weakening of cable materials - loss of production | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038224 | 0.004368 | 0.0032675 | 0.0014712 | 0 | 0.0015856 | 1 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.00063598 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011667
0: Failure of the WTG/Major repair campaign/Structure reassessment | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Failure of whole facility and vast economic loses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Excessive Fatigue Life Consumption | 0.001101 | 0.0018479 | 0.00091491 | 0.0033229 | 0 | 0.0012282 | 0.0010057 | 0.00095593 | 0.0019496 | 8.0628e-05 | 0.0019199 | 0.0001175 | 0.00071532 | 0.001066 | 0.00096072 | 0.0013434 | 0.0010346 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014712 | 0 | 0.001585 | 0.0019931 | 0.0042929 | 0.00097063 | 1 | 0.001436 | 0 | 0 | 6.3137e-05 | 0.00084381 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0.0035112 | 0.0013157 | 0 | 0 | 0.00025219 | 0.0013885 | 0.00010537 | 0.00089455 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 0.0036029 | 0.0010956 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.00057244 | 0.00031686 | 0 | 0 | 0.00047202 | 0 | 6.514e-05 | 0.011874
0: Tower transition piece connections failure | 0.001101 | 0.0018479 | 0.00091491 | 0.0033229 | 0 | 0.0012282 | 0.0010061 | 0.00095626 | 0.0019496 | 8.0628e-05 | 0.0019199 | 7.8183e-05 | 0.00071532 | 0.001066 | 0.00096072 | 0.0013434 | 0.0010346 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014712 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 1 | 0 | 0 | 6.3138e-05 | 0.00084384 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0.0035112 | 0.0013157 | 0 | 0 | 0.00025219 | 0.00069625 | 0.00010537 | 0.00089455 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 0.0036029 | 0.0010956 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 3.2664e-05 | 0.011848
0: displacement variations between tower end | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.8183e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00097135 | 0 | 0 | 1 | 0 | 6.3138e-05 | 0.00084384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2659e-05 | 0.010659
0: Local stress accumulation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Floater Unit damage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: tension failure (rupture), buckling of the transition piece | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Mooring line breakage | 0.00027563 | 0.0018479 | 0.00091561 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8155e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038224 | 0.004368 | 0.0032675 | 0.0014712 | 0 | 0.0015834 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024213 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011678
0: Mooring line wear | 0.00027577 | 0.0006719 | 0.00091561 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 0.00011203 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038224 | 0.004368 | 0.0032675 | 0.0014712 | 0 | 0.0015834 | 0.0019931 | 0.0042908 | 0.00097132 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0011414 | 1 | 0.0091898 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024213 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011663
0: Mooring Line Fatigue | 0.00055003 | 0.00093386 | 0.00091543 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8078e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038224 | 0.004368 | 0.0032675 | 0.0014712 | 0 | 0.0015834 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084772 | 0.0013396 | 1 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024207 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011582
0: Mooring Line Corrosion | 0.00055003 | 0.00093136 | 0.00091543 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8078e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038224 | 0.004368 | 0.0032675 | 0.0014712 | 0 | 0.0015834 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084772 | 0.0013396 | 0.0091876 | 1 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024207 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01168
0: Excessive stress on mooring lines | 0.00055003 | 0.00092858 | 0.00091543 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8078e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038224 | 0.004368 | 0.0032675 | 0.0014712 | 0 | 0.0015834 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084772 | 0.0013396 | 0.0091877 | 0 | 1 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024207 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01168
0: Mooring winch failure | 0.00055032 | 0.0018479 | 0.00018177 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 0.00015633 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015502 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045994 | 0.0038224 | 0.004368 | 0.0032666 | 0.0014712 | 0 | 0.0015863 | 0.0019931 | 0.0042908 | 0.0015824 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084844 | 0.0013396 | 0.0091801 | 0 | 0 | 1 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024207 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039706 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011689
0: Fairlead failure | 0 | 0 | 0 | 0.0016731 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010656
0: Monitoring system fails | 0.0011012 | 0.0018479 | 0.00091519 | 0 | 0 | 0.00061578 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8115e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045994 | 0.0038194 | 0.0043645 | 0.0032666 | 0.0014712 | 0 | 0.002578 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084812 | 0.00134 | 0.0091801 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021102 | 0.0025077 | 0 | 0.0036014 | 0.0010953 | 0.00044911 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011685
0: Failure in clump weight | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Failure in buoyancy element | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010638
0: Hit by dropped objects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00012641 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01064
0: Floating Structure Cracks | 0.001101 | 0.0018479 | 0.00091491 | 0.0033228 | 0 | 0.0012282 | 0.00050426 | 0.0004793 | 0.0019496 | 8.0628e-05 | 0.0019199 | 7.8117e-05 | 0.00071532 | 0.0010663 | 0.00096096 | 0.0013438 | 0.0010349 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014712 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0.0035127 | 0.0013157 | 0 | 0 | 0.00025219 | 1 | 0.00010537 | 0.00089477 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 0.0036044 | 0.0010959 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011821
0: Structural plastic deformation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2869e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010639
0: Structural break | 0.001101 | 0.0018479 | 0.00091491 | 0.0033228 | 0 | 0.0012282 | 0.00044817 | 0 | 0.0019496 | 4.0386e-05 | 0.00044858 | 3.9128e-05 | 0.00071532 | 0.0010663 | 0.00096098 | 0.0013439 | 0.0010349 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014712 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.00097138 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0.0035155 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 1 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 0.0036046 | 0.001096 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011789
0: Capsize | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00035826 | 0.00041841 | 0.00041837 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010651
0: Floater unit sinkage | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8098e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.00030735 | 0 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014712 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.0015824 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 1 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 0.0036045 | 0.0010959 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011685
0: Additional Structures Failures | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8098e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.00067345 | 0 | 0.00074124 | 3.8535e-05 | 0.00019477 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038224 | 0.004368 | 0.0032666 | 0.0014712 | 0 | 0.0015863 | 0.0019931 | 0.0042908 | 0.0015827 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025229 | 0 | 0.00010541 | 0 | 0.00083498 | 0.00061316 | 1 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036034 | 0.0010957 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039723 | 0 | 0 | 0.0018738 | 0.0011384 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011668
0: Movement of CPS due to scour/seabed mobility | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00034467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0032691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0011258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010689
0: Failure of watertightness | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00052882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010644
0: Failure of end termination | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.001658 | 0 | 0.0040787 | 0.00061318 | 0.001393 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038194 | 0.0012626 | 0.0032666 | 0.0014712 | 0 | 0.002578 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0010529 | 1 | 0 | 0.0036014 | 0.0010953 | 0.00022409 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011632
0: Reduced sediment cover lower than designed value for protection | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0071e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010639
0: Corrosion of J-tube | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0018113 | 0.00061318 | 0.0013927 | 0.0012839 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014728 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 1 | 0.0010953 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011633
0: damage/ corrosion of mechanical parts | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8098e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013429 | 0 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00030726 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038224 | 0.004368 | 0.0032666 | 0.0014712 | 0 | 0.0015863 | 0.0019931 | 0.0042908 | 0.0015824 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.0014794 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 1 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011687
0: Mechanical degradation | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.001229 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.00011252 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045778 | 0.0038194 | 0.0043645 | 0.0032666 | 0.0014712 | 0 | 0.002578 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013166 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021102 | 0.0025077 | 0 | 0.0036014 | 0.0010953 | 1 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066975 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011687
0: Failure of fixing clamps | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.001658 | 0 | 0.0040787 | 0.00061318 | 0.001393 | 0.00064697 | 0.002293 | 0 | 0.00045316 | 0.0045994 | 0.0019244 | 0.0043719 | 0.0032702 | 0.0014757 | 0 | 0.0015856 | 0.001994 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0010529 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00022408 | 1 | 0.0024447 | 0.0011938 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011603
0: failures of conductors | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0011521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010651
0: Failure of insulations | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00022707 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010641
0: Failure of sheath | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.001658 | 0 | 0.0040787 | 0.00061318 | 0.001393 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0015121 | 0.0043645 | 0.0032666 | 0.0014712 | 0 | 0.002578 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0010531 | 0.0025077 | 0 | 0.0036014 | 0.0010953 | 0.00022413 | 0.0048683 | 0.0024452 | 0.0011941 | 1 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011668
0: Fatigue Cracks | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00052446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010644
0: accelerated mechanical fatigue | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038248 | 0.0043708 | 0.0032695 | 0.0014712 | 0 | 0.00079553 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021117 | 0.0025108 | 0 | 0.0036014 | 0.0010953 | 0.00044943 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 1 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011661
0: Geo-Hazards | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6065e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010639
0: Premature damage of outer protection layer | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038252 | 0.0043714 | 0.0032699 | 0.0014712 | 0 | 0.00063572 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021118 | 0.002511 | 0 | 0.0036014 | 0.0010953 | 0.00044946 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 1 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011672
0: Loss of dynamic positioning | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0023197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010663
0: Small bending radius | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.001658 | 0 | 0.0040787 | 0.00061318 | 0.001393 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038194 | 0.0021991 | 0.0032666 | 0.0014712 | 0 | 0.002578 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0010524 | 0.0025077 | 0 | 0.0036014 | 0.0010953 | 0.00022399 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 1 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011669
0: Bending and motion | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00071858 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010646
0: anchoring damages | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.001658 | 0 | 0.0040787 | 0.00061318 | 0.001393 | 0.0012814 | 0.002293 | 0 | 0.00045302 | 0.0046033 | 0.0038116 | 0.0043696 | 0.0032686 | 0.00046578 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0010519 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00022387 | 0.0048725 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 1 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011671
0: Detachment | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8098e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013429 | 0 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038224 | 0.004368 | 0.0032666 | 0.0014712 | 0.0010741 | 0.0015863 | 0.0019931 | 0.0042908 | 0.0015824 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.0014774 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 1 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011713
0: Crushing or deformation | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038266 | 0.004373 | 0.0032709 | 0.0014712 | 0 | 0.00019916 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021122 | 0.0025118 | 0 | 0.0036014 | 0.0010953 | 0.00044954 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011677
0: material degradation | 0.001101 | 0.0018479 | 0.00091491 | 0 | 0 | 0.0012282 | 0 | 0 | 0.0019496 | 0 | 0 | 7.8091e-05 | 0.00071532 | 0.0010661 | 0.00096083 | 0.0013439 | 0 | 0.0015494 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045306 | 0.0045779 | 0.0038224 | 0.004368 | 0.0032675 | 0.0014712 | 0 | 0.001585 | 0.00077183 | 0.0042908 | 0.00097135 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0 | 0.0013157 | 0 | 0 | 0.00025219 | 0 | 0.00010537 | 0 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.002111 | 0.0025094 | 0 | 0.0036014 | 0.0010953 | 0.00044929 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012677 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 1 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011682
0: Abrasion and wear marks | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00056514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010644
0: Debris disturbance, | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00094112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010648
0: Tower Cracks | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9138e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00057231 | 0.00048628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01065
0: Tower Plastic deformation | 0.001101 | 0.0018479 | 0.00091491 | 0.0033229 | 0 | 0.0012282 | 0.0010057 | 0.00095593 | 0.0019496 | 8.0628e-05 | 0.0019199 | 3.9118e-05 | 0.00071532 | 0.001066 | 0.00096072 | 0.0013434 | 0.0010346 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014712 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.00097138 | 0.00031686 | 0.0014356 | 0 | 0 | 6.3137e-05 | 0.00084381 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0.0035112 | 0.0013157 | 0 | 0 | 0.00025219 | 0.0013885 | 0.00010537 | 0.00089455 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 0.0036029 | 0.0010956 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.001137 | 1 | 0 | 0 | 0.00093751 | 0 | 6.514e-05 | 0.011884
0: Tower Abnormal vibration | 0.001101 | 0.0018479 | 0.00091491 | 0.0033229 | 0 | 0.0012282 | 0.0010057 | 0.00095593 | 0.0019496 | 8.0628e-05 | 0.0019199 | 3.9146e-05 | 0.00071532 | 0.001066 | 0.00096072 | 0.0013434 | 0.0010346 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014712 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.00097138 | 0.00067885 | 0.0014356 | 0 | 0 | 6.3137e-05 | 0.00084381 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0.0035112 | 0.0013157 | 0 | 0 | 0.00025219 | 0.0013885 | 0.00010537 | 0.00089455 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 0.0036029 | 0.0010956 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011367 | 0.00062922 | 1 | 0 | 0.00093734 | 0 | 6.514e-05 | 0.011895
0: Transition Piece Cracks | 0.001101 | 0.0018479 | 0.00091491 | 0.0033229 | 0 | 0.0012282 | 0.0010057 | 0.00095593 | 0.0019496 | 8.0628e-05 | 0.0019199 | 7.818e-05 | 0.00071532 | 0.001066 | 0.00096072 | 0.0013434 | 0.0010346 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014712 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0.00071966 | 0.0006454 | 0 | 6.3136e-05 | 0.00084378 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0.0035112 | 0.0013157 | 0 | 0 | 0.00025219 | 0.001389 | 0.00010537 | 0.00089455 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 0.0036029 | 0.0010956 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 1 | 0 | 0 | 9.7946e-05 | 0.011871
0: Transition Piece Abnormal vibration | 0.001101 | 0.0018479 | 0.00091491 | 0.0033229 | 0 | 0.0012282 | 0.0010057 | 0.00095593 | 0.0019496 | 8.0628e-05 | 0.0019199 | 7.8181e-05 | 0.00071532 | 0.001066 | 0.00096072 | 0.0013434 | 0.0010346 | 0.0015488 | 7.6843e-05 | 0.00038839 | 0 | 0.0016568 | 0 | 0.0040787 | 0.00061318 | 0.0013927 | 0.0012824 | 0.002293 | 0 | 0.00045302 | 0.0045994 | 0.0038237 | 0.0043696 | 0.0032686 | 0.0014712 | 0 | 0.001585 | 0.0019931 | 0.0042908 | 0.00097135 | 0 | 0.00047057 | 0 | 0 | 6.3137e-05 | 0.00084381 | 0.00084786 | 0.0013396 | 0.0091801 | 0 | 0 | 0 | 0.0035112 | 0.0013157 | 0 | 0 | 0.00025219 | 0.0013892 | 0.00010537 | 0.00089455 | 0.00083464 | 0.00061292 | 0.001479 | 0 | 0.0021114 | 0.0025094 | 0 | 0.0036029 | 0.0010956 | 0.00044937 | 0.0048683 | 0.0024424 | 0.0011927 | 0 | 0 | 0.0024195 | 0 | 0.0012669 | 0.0066898 | 0 | 0 | 0 | 0 | 0.00039707 | 0 | 0 | 0.0018729 | 0.0011379 | 0 | 0 | 0 | 1 | 0 | 6.5171e-05 | 0.011861
0: Transition Piece Structural plastic deformation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00082297 | 0 | 0 | 3.9158e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00097138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0.010658
0: Transition piece break | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2619e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00097139 | 0 | 0 | 0 | 0 | 3.1572e-05 | 3.2644e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.01065 | 0.011895
| 0.011124 | 0.01152 | 0.011076 | 0.011045 | 0.010638 | 0.011239 | 0.010713 | 0.010704 | 0.011643 | 0.010646 | 0.010806 | 0.01068 | 0.011007 | 0.011181 | 0.011128 | 0.011283 | 0.010732 | 0.011393 | 0.010677 | 0.010835 | 0.010642 | 0.01149 | 0.010639 | 0.012654 | 0.010942 | 0.011321 | 0.011266 | 0.011821 | 0.010644 | 0.01087 | 0.012966 | 0.012439 | 0.012689 | 0.012346 | 0.011347 | 0.01065 | 0.011483 | 0.011608 | 0.012835 | 0.011234 | 0.010649 | 0.010697 | 0.010645 | 0.010638 | 0.010643 | 0.010701 | 0.011046 | 0.0113 | 0.015141 | 0.010638 | 0.010639 | 0.010638 | 0.01098 | 0.011289 | 0.010638 | 0.010638 | 0.010766 | 0.01072 | 0.010692 | 0.01071 | 0.01106 | 0.010942 | 0.011357 | 0.010638 | 0.011597 | 0.011875 | 0.010638 | 0.012375 | 0.011174 | 0.010837 | 0.013029 | 0.011873 | 0.011241 | 0.010638 | 0.010638 | 0.011825 | 0.010638 | 0.011265 | 0.013991 | 0.010638 | 0.010638 | 0.010638 | 0.010638 | 0.010835 | 0.010638 | 0.010655 | 0.011583 | 0.011207 | 0.010648 | 0.010638 | 0.010638 | 0.010663 | 0.010638 | 0.010643
0.015141